SAFETY HANDBOOK

SCHOOL OF natural and Built Environment (SNBE)

TABLE OF CONTENTS

1	FOREWARD	5

University General Health and Safety Policy	5

Statement of School of SNBE Health and Safety Policy	Error! Bookmark not defined.

2	INTRODUCTION	7

3	SAFETY ORGANISATION WITHIN SNBE	8

3.1 University Safety Structure	8

3.2 School Safety Structure	8

3.1.1	Individual Responsibility	8

3.1.2	Heads of School, Directors of Academic Support Directorates	8

3.1.3	Employees and Students	8

3.1.4	Members of the Public and Visitors	9

3.1.5	SNBE Safety Committee	9

3.1.6	Examples of Specialist Adviser Duties (COSHH, Laser and Radiation Safety, Fieldwork)	9

3.1.7	Laboratory/Studio/Workshop Coordinator/Manager Duties	9

3.1.8	Academic Research and Teaching staff	10

3.1.9	Research Staff	10

3.1.10	Students	11

3.2 Safety Development Plan and Risk Register	11

3.3 Workplace Inspection Management Plan	11

4	GENERAL HEALTH AND SAFETY INFORMATION	12

4.1 General Points	12

4.2 Training	12

4.3 Emergency Procedures and Guidelines	12

5	FIRE SAFETY	13

5.1 Emergency Exits	13

5.2 Assembly Points	13

5.3 Fire-fighting Equipment	14

5.4 Fire Precautions	14

5.5 Out of Hours Working and Fire Safety	15

5.6 Fire Safety Personnel and Routine Evacuation Drills	15

6	RISK ASSESSMENT	16

6.1 General	16

6.2 Carrying out risk assessments	16

6.4 Specific Risk Assessments for CAF Personnel (Centre for Archaeological Fieldwork)	17

7	LABORATORY/STUDIO/WORKSHOP PROTOCOLS	18

7.1 General Rules	18

7.2 Personal protective equipment	19

7.3 Fume cupboards	19

7.4 Control of Substances Hazardous to Health (CoSHH)	20

7.5 Unattended equipment	20

7.6 Late and Lone Working in Laboratories, Workshops and Studios	21

7.7 Disposal of waste	21

7.8 Sharps and Broken Glassware	22

7.9 Non-hazardous general waste	23

7.10 Gas cylinders	23

7.11 Ultra-violet Light	24

7.12 Medical Concerns	24

7.13 Pregnancy	24

8	HAZARDOUS CHEMICALS/MATERIALS	25

8.1 Handling of Chemicals	25

8.2 Labelling of containers	25

8.3 Labelling your research	25

11.4 Flammable solvents	25

11.5 Highly reactive substances	25

11.6 Radioactive Substances	25

11.7 Nannomaterials and Carcinogens	25

9	FIRST AID PROVISION AND ACCIDENT/NEAR MISS MANAGEMENT	26

9.1 Location of First Aid Boxes	26

9.2 Accident Management and Reporting Procedures	26

9.3 Leaks and spills	27

	Gas Leaks	27

	Liquid Leaks and Spills	28

10	MANUAL HANDLING	30

11	NOISE MANAGEMENT	31

12	ELECTRICAL HAZARDS	32

12.1 General	32

12.2 Wiring and earthing	32

12.3 Portable Appliance Testing (PAT)	32

12.4 Lasers, High intensity lights, LED	32

13	MECHANICAL SAFETY	33

13.1 Introduction	33

13.2 Unskilled persons	33

13.3 Skilled Staff	33

13.4 Machine and Equipment	33

13.5 Power Hand Tools	33

13.6 Protective Equipment	33

13.7 Material Handling	33

14	OUT-OF HOURS/LONE WORKING POLICY AND GUIDANCE	35

14.1 Risk Assessment for Lone Workers.	35

14.2 Lone working and Medical Fitness.	35

14.3 Lone Working – Informing Security	36

14.4 Out of Hours (before 8am and after 5 pm) Working	36

14.5 Health and Safety awareness for persons working out of hours	36

14.6 Support Services	36

14.7 Late (after 7 pm) and weekend working	36

15	FIELD TRIPS / PLACEMENT AND WORK OUTSIDE THE SCHOOL	37

15.1 General	37

15.2 Preparation for site visit	37

15.3 Contaminated Sites	37

15.4 Placement & Work Overseas	37

16	FIELDWORK SAFETY	38

16.1 Definition of Fieldwork	38

16.2 Field Safety Awareness	38

16.3 Risk Assessments for Fieldwork	38

16.4 Health Declaration and Medical Questionnaires	38

16.5 Field Safety for Students with Disabilities	38

17	SAFE USE OF DISPLAY SCREEN EQUIPMENT (DSE)	39

17.1 Introduction	39

18	BREACHES OF HEALTH AND SAFETY REGULATIONS	43

18.1 General	43

APPENDIX 1 SNBE SAFETY GOVERNANCE AND COMMITTEEE MEMBERSHIP	44

APPENDIX 2 FIRE WARDENS	45

APPENDIX 3 LIST OF FIRST AIDERS	46

APPENDIX 4 RISK ASSESSMENT FORM (INCLUDING COSHH FORM)	47

APPENDIX 5 LIST OF LABORATORIES/STUDIOS/WORKSHOPS AND DESIGNATED SAFETY REPS/MANAGERS	55

APPENDIX 6 Risk Assessment Examples	56

# FOREWARD

The University’s General Safety Policy and that of the SNBE outlined in detail below apply to all persons who enter the School’s buildings.  The policies contain lists of current Health and Safety Management Committee Members, Departmental Safety Officers and procedural relationships between members of staff and the Committee.

The Health and Safety at Work (NI) Order 1978 and relevant subsidiary statutory provisions apply to the School and must be complied with.  In addition, the CVCP Code of Practice for University Safety Management and other relevant codes of practice apply.

This handbook is meant to ensure, as far as is reasonably practicable, safety and absence of risk to health during work in the School’s laboratory and workshops, and by staff and students while working in the field..

## University General Health and Safety Policy

Queen’s University of Belfast, is committed to the highest standards of excellence in education and research and this commitment applies equally to the management of the health and safety for staff, students and others who may be affected by matters within its control. The University will adopt best practice in all areas of health and safety management through continuous improvement in the control of risk.

The Senate, as the governing body of the University, has ultimate responsibility for the Health and Safety Policy and for monitoring the effectiveness of supporting systems.

The Vice-Chancellor has executive responsibility for ensuring the implementation and monitoring of the Health and Safety Policy, including the provision of adequate resources and for ensuring that the University complies with all relevant statutory requirements and associated codes of practice.

Health and safety is an integral part of the management of the University’s undertakings and a core function of University Managers who, through the organizational structures, will take all reasonable practicable steps to ensure that:

- the risks to health and safety throughout its undertaking are properly assessed;

- there are safe systems of work in place;

- there is a safe environment in which to work;

- managers and supervisors have appropriate knowledge and competence to deal effectively with health and safety issues;

- staff, students and others are given adequate supervision, information, instruction and training in order to carry out their work and studies safely.

- there is an effective mechanism through which Safety Representatives are consulted in good time on health and safety matters.

The Occupational Health Service and the University Safety Service will provide all necessary professional support and advice to University Managers. Staff and students have a duty to take reasonable care of their own health and safety and that of others who may be affected by their acts or omissions.  Staff and student co-operation and commitment is essential to ensure successful implementation of the health and safety policy.

Professor Ian Greer (April, 2019) President and Vice Chancellor

Statement of SNBE’s Health and Safety Policy

1. It is the School’s policy to ensure, so far as it is reasonably practicable, the health, safety and welfare of all its staff and students in accordance with the University Safety Policy, the relevant statutory requirements and the “CVCP Code of Practice for University Safety Management", (MY 1995) published by the Committee of Vice-Chancellors and Principals of the Universities of the United Kingdom.

2. Within the general policy stated in (1), it is the School's policy so far, as is reasonably practicable,

- to ensure that all plant, experimental equipment and systems of work are safe and without risks to health;

- to ensure safety and absence of risks to health in connection with the use, handling, storage and transport of articles and substances;

- to provide such information, instruction, training and supervision as required to ensure the health and safety at work of all staff and students;

- as regards any place of work under the School's control, to ensure that it is maintained in safe condition and without risks to health and to provide and maintain means of access and egress from such places which are safe and without risks to health;

- to ensure a working environment for staff and students that is safe, without risks to health and adequate as regards safety facilities and arrangements for their health and welfare at work;

- to provide such protective clothing and safety equipment as is necessary to ensure the health and safety at work of its staff and students;

- to foster the development of a positive attitude towards an interest in safety amongst staff and students, embracing both responsibility for personal safety and the safety of others;

- to require staff to set a high standard of safety by personal example in order that students leaving the university should take with them a positive attitude towards high standards of safety practice;

- to prepare and update, as necessary, terms of reference defining the functions of the School Safety Committee and its associated sub-committees;

- to maintain a detailed list of the membership of each Safety Committee and their functions with respect to health and safety;

- to prepare with appropriate consultation, update and disseminate to all staff such local rules of health and safety that are deemed necessary;

- to ensure that one copy of the School's Safety Policy, all School Safety Codes of Practice and minutes of all School Safety Committee Meetings are retained for consultation by the Chair of the Safely Committee and the Head of School.

- To have a formal procedure for the inspection, auditing and monitoring of health and safety arrangements

3. In pursuance of this policy the School has established a Health and Safety Management Committee structure and associated general and specialist Safety Supervisors (Appendix 1) to advise members of the School on all matters relating to safety and to oversee the implementation of the School's Safety Policy within the School's buildings.

4. It is the School's policy to solicit views of all staff and student when formulating safety policy rules. Membership of the Health and Safety Committee shall therefore include representatives of academic and technical staff, with facility user input channelled via the facilities / lab managers.

5. The executive responsibility of safety is vested in the Head of School.

# INTRODUCTION

This document is mandatory reading for staff and research students in SNBE. As health and safety protocols and regulations are constantly evolving, updates will be released and therefore regular consultation is recommended. This manual is reviewed annually.

At some stage in your research or job you may need to use equipment or handle chemicals with which a degree of risk is associated. Even the simplest task has associated risks. But fortunately:

MOST ACCIDENTS and INCIDENTS ARE AVOIDABLE

This document has been created to assist you to think safely and avoid accidents to yourself, to others working around you and to the environment. The information in this document is offered as a guide to help you to think and act safely. Remember most accidents can be avoided by thinking first and acting second.

It is the university policy and should be a duty of care for all those working in laboratories studios and offices, to act positively to prevent: injury, ill-health, environmental damage, equipment damage or loss arising from work carried out within the laboratory. Under the Health and Safety at Work (N.I.) Order and subsequent regulations (COSHH, PUWER etc), this moral duty of care is backed by law.

The health and safety guidelines that follow are applicable to all areas of the School but particularly to laboratories, workshops and studios.  Please read this safety document carefully and familiarise yourself with its contents. If there is anything within this document you do not understand, discuss it with the School Health and Safey Coordinator, Dr. Neil Ogle.  If you see someone practicing an unsafe activity or see equipment being used in an inappropriate manner then DO NOT IGNORE IT, bring it to the individual person’s attention or inform a responsible member of staff.

Remember that substance and equipment safety is a large and continuously evolving subject. You cannot expect to obtain all the required facts from this document. In all work you will usually need to seek additional safety information.  Other information can be obtained from your supervisor / line manager, the relevant safety documentation on the school web page / intranet or the University Safety Service.

In all cases of safety, the priorities are (in order of importance):

- Trying to prevent accidents occurring.

- Knowing how to act and responding when an incident occurs so that consequences are less severe.

- Learning from accidents or ‘near misses’.

The Health and Safety policy of the university is on display on notice boards in all buildings of the School and in or near all laboratories.

# SAFETY ORGANISATION WITHIN SNBE

## 3.1 University Safety Structure

The executive functions under the Health and Safety at Work Order rest with the Vice Chancellor. The University has several permanent officials appointed to advise the University Safety Committee and Schools and individuals on safety matters. Further details can be found in the statement of University Policy.

https://www.qub.ac.uk/directorates/EstatesDirectorate/UniversitySafetyService/HealthandSafetyPoliciesandGuidance/

## 3.2 School Safety Structure

The Vice Chancellor has delegated his/her executive functions to various Heads of Schools. In the School of Natural and Built Environment there is the School Safety Committee (Appendix 1) who oversee safety matters on an overall basis and advice the HoS on Health and safety issue, reporting to the School Management Board. Laboratory/Studio/Workshop Coordinators/Managers have responsibilities for safety in specific areas within the School. Teaching staff also have a responsibility to ensure safety. Safety governance is shown in Appendix 1. The Health and Safety at Work Order places executive responsibility on all individuals. Safety roles are summarised below.

### Individual Responsibility

Ensuring the Health and Safety of staff and students is an integral part of all activities within the University and all staff and students have a personal responsibility to help ensure that high standards of health and safety are achieved and maintained

### Heads of School, Directors of Academic Support Directorates

Health and safety management within the School is the responsibility of the Head of School, in conjunction with the School Health & Safety Officer and First Aid Coordinator.  It is the responsibility of the Head of School to ensure that the health and safety management system within the School adequately addresses the hazards within the School and meets the needs of all staff, students and visitors.  This includes implementation and monitoring of the SMB approved School safety policy already shown. It is a fundamental requirement that all managers undergo appropriate training in the safety related aspects of their duties.  The Head of School will ensure that there is an effective health and safety forum for consultation with staff and students regarding health and safety at work – the SNBE Safety Committee (Section 3.1.5)

### Employees and Students

All employees and students are required by the University:-

- to take reasonable care of their own health and safety and that of others who may be affected by their own acts or omissions;

- to familiarise themselves with any relevant Health and Safety Policies/Procedures;

- to co-operate with the University and its officers to enable the University to comply with its statutory obligations;

- to undertake induction/training for each work area (Laboratory/Studio/Workshop) they occupy and to carry out a full risk assessment for any activity they intend to undertake within that space.

- to submit the completed risk assessment to via the facility manager for sign-off and ratification by the School Health and Safety committee;

- to use equipment, machinery, plant and substances in accordance with the instructions and training that they have received;

- to inform their manager or supervising member of staff of any dangers or shortcomings in the health and safety arrangements, even if there is no risk of immediate danger;

- not to intentionally and recklessly misuse or interfere with anything provided in the interest of health, safety and welfare.

### Members of the Public and Visitors

The University must take such care as is reasonable in the circumstances to ensure the health and safety of members of the public and visitors to the University.  In order to meet these responsibilities, the School will take such steps as is reasonable to:

- provide safe access/egress;

- control work processes such that visitors are safeguarded against hazards presented to them by the University’s activities;

- control hazardous areas by means of excluding or restricting access;

- ensure risk assessments are conducted for all work activities and events (including those managed by outside bodies) and that these are signed off in accordance with School requirements.

### SNBE Health and Safety Committee

The role of the Committee is to oversee all aspects of health and safety management pertaining to the School, its infrastructure and off-campus activities. Its membership is made up of the School Health and Safety Officer (as the Head of School designated representative), the School Manager, relevant Laboratory Managers from the School’s core buildings, Building Liaison Officers, specialist technical advisers where appropriate, and representatives of the academic and technical staff.  The School Health and Safety Committee reports to the School Management Board (SMB). Decisions reached will be communicated to staff and students via normal line management communication routes once ratified at SMB.  The Committee is consulted upon for general matters, with individuals assisting coordinators for specific tasks. The Annual Audit is the responsibility of Safety Officer and signed off by the Head of School through presentation at SMB.  This serves as the main benchmark for Health and Safety procedures in the School. In addition, the University also carries out periodic reviews of procedures and facilities, again, for which individual (relevant) personnel are consulted.

### Examples of Specialist Adviser Duties (COSHH, Laser and Radiation Safety, Fieldwork)

To ensure with Laboratory/Studio/Workshop Managers that safe handling of substances is followed.

To advise staff and students on the COSHH regulations and guidelines for hazardous substance use

To maintain records of COSHH Risk Assessments

To ensure with Laboratory Managers that safe working practices with lasers are followed

To advise staff and students on the regulations and guidelines for working with lasers

To keep records of risk assessments relating to lasers

To ensure with Laboratory Managers/Research Supervisors/Directors of research that safe working practices associated with fieldwork are followed

To advise staff and students on the regulations and guidelines for working in the field

To keep records of risk assessments relating to field work

### Laboratory/Studio/Workshop Coordinator/Manager Duties

To implement/enforce health and safety rules within their area of responsibility as set out in this document and ensure adherence to them. To provide a full induction before any use of the facility takes place, and to sign off / agree a risk assessment developed for the tasks to be undertaken, and to forward this assessment to the School H&S Committee for endorsement.  To discuss with and keep SNBE’s Safety Officer fully informed of any issues and incidents associated with health and safety as they occur.  This includes but is not limited to:

- Health and safety breaches

- Health and safety concerns

- Possible procedural changes

- Concerns/queries/new policies/new information from the University Safety Service

- Staff and student first aid concerns

To co-ordinate health and safety in communication, and in conjunction with, all relevant students and staff supervisors

To develop and maintain procedures for determining and implementing changes or modifications to health and safety procedures in conjunction with relevant staff supervisors

When reasonably practicable, to contact line management when an emergency occurs

To take charge of emergencies as per this document until help arrives

During an emergency to assist emergency services and line management

To identify hazardous activities or equipment that requires specific procedures and bring these to the attention of relevant personnel in a timely manner.

To write laboratory health and safety procedures in consultation with relevant research staff supervisors when requested and to bring to the Safety Officer for approval at H&S committee.

To disseminate new health and safety procedures, changes etc. to all relevant staff members

To maintain and review COSHH and other specialist administrative records and if designated and trained to do so - countersign risk assessments

### Academic Research and Teaching staff

Academic research supervisors and teaching staff are responsible for ensuring that the health and safety of their staff and students are being met. When necessary, health and safety issues are to be communicated through the laboratory/studio/workshop manager.

Research Supervisors/Teaching staff are also expected:

To conform with health and safety procedures

To ensure appropriate risk assessment is undertaken for practical / laboratory / field work

To ensure that students are correctly informed of risk assessments prior to practical / laboratory / field work

To enforce health and safety procedures when teaching or supervising practical / laboratory / field work

To be proactive about health and safety

To report health and safety breaches to the appropriate facility manager

To ensure all guests/visitors conform to health and safety procedures

To liaise with the members of the Safety Committee on any issues associated with health and safety as they occur. This includes but is not limited to:

- Possible procedural changes

- Health and safety breaches and concerns

- Student and staff first aid concerns

To validate COSHH and risk assessment forms of staff and student procedures for which they are the supervisor / co-ordinator when fully completed as per this document.

To review COSHH and risk assessment forms when requested by and in conjunction with the laboratory co-ordinator / manager.

To ensure that risk assessments are carried out on all projects for which they are responsible

### Research Staff

To conform with health and safety procedures

To enforce health and safety procedures when in the laboratory

To be proactive about health and safety

To report health and safety breaches to the laboratory/studio/workshop co-ordinator

To discuss with their supervisor any issues associated with health and safety as they occur and keep him fully informed. This includes but is not limited to:

- Possible laboratory procedure changes

- Health and safety breaches and concerns

- Student and staff first aid concerns

To ensure all guests conform to health and safety procedures

To ensure that research involving hazardous substances is not undertaken without a fully signed COSHH form

To review COSHH forms when requested by and in conjunction with the laboratory manager.

To carry out risk assessments, or familiarise themselves with existing risk assessments, for all activities with which they are involved

### Students

To conform with health and safety procedures

To be proactive about health and safety

To report health and safety breaches to the laboratory manager

To discuss with their supervisor of any issues associated health and safety as they occur and keep him fully informed. This includes but is not limited to:

- Possible laboratory procedure changes

- Health and safety breaches and concerns

- Student and staff first aid concerns

To ensure that research / lab work is not undertaken without a fully signed risk assessment / COSHH forms.

To carry out risk assessments, or familiarise themselves with existing risk assessments, for all activities with which they are involved

## 3.2 Safety Development Plan and Risk Register

SNBE’s safety committee regularly review safety procedures across the school based on their own internal laboratory audits, accident reports / near miss investigations and the tri-annual university safety service audit. This data is collated into the school risk register and safety development plan. The school safety committee formally reviews and agrees the risk register and safety development plan, which is then passed onto the School Management Board for review on a yearly basis. The school risk register and safety development plan can be found on the school intranet

## 3.3 Workplace Inspection Management Plan

All laboratories, workshops and studios are to be formally inspected at least twice a year with records retained and reported to the school safety committee. Informal inspections should be regularly carried by the academic member of staff with responsibility for their lab / studio (Appendix 5).

The tailored SNBE Safety Policy should be formally approved by the School Management Board and presented to School Board, who should also receive an Annual Audit Report and Development Plan conducted through the School Health and Safety Committee.

# GENERAL HEALTH AND SAFETY INFORMATION

4.1 General Points

- Any equipment provided and operations carried out with it are as far as is reasonably practicable, consistent with efficient discharge of the School’s responsibilities in teaching and research.

- Executive responsibility for implementation of safety procedures rests with the Head of School.  This responsibility is delegated, but not relinquished, by the Head of School to the persons named in Appendix 1.

- It is the duty of every individual to take reasonable care for the health and safety of him/herself and of any other persons present.

- Use of laboratories and studios is restricted to members of academic and technical staff, post-graduate and undergraduate students and approved visitors (anyone who has good reason or cause to be on University property; explicitly for instance, does not include intruders, vagrants or similar who may do themselves, innocent public or University staff harm or distress.

- Training in the use of the equipment and procedures will be given by members of laboratory staff as appropriate.  General and COSHH Risk Assessments will have been completed for all procedures as necessary.

- Handbooks give guidance for equipment operation and the processes used and that guidance must be adhered to. They are not Do-It-Yourself manuals, but are meant to supplement and refresh training (see above).  They will be modified and updated from time to time as necessary.

- All persons using the School’s buildings must be familiar with the emergency evacuation procedures, location of alarm points, fire appliances and First Aid kit.  Details for the above and reporting accidents are given below.

4.2 Training

Members of the School are asked to request appropriate training from the School’s Safety Officer should they feel it necessary for any activity which they are undertaking as part of their job, or in the case of research students, their research work.  School Managers and the School’s Safety Officer will notify members of the School about Health and Safety-related training courses available within QUB. All Lab Managers and the School Safety Officer should be confirmed as competent for the role via validated training as necessary.

Recognition of training completion e.g. Certification, should be forwarded to the School’s Health and Safety Coordinator (Dr. N. Ogle, n.ogle@qub.ac.uk) for databasing

4.3 Emergency Procedures and Guidelines

Familiarise yourself with the position of emergency and safety equipment as well as fires exits and alarm activation points

Staff should complete online training in Fire Safety as stipulated by the QUB Fire Safety Service. Further details can be obtained via the following link below.

http://www.qub.ac.uk/directorates/EstatesDirectorate/Services/FireSafety/

# FIRE SAFETY

Familiarise yourself with the position of emergency and safety equipment as well as fires exits and alarm activation points. All staff MUST complete the Annual Fire Safety training module (online via http://www.qol.qub.ac.uk/ Fire risk is assessed annually and should any member of staff have any concerns, these must be raised and the fire risk register consulted.

Staff should complete online training in Fire Safety as stipulated by the QUB Fire Safety Service. Further details can be obtained via the following link below.

http://www.qub.ac.uk/directorates/EstatesDirectorate/Services/FireSafety/

- If you discover a fire you must raise the alarm by operating the nearest fire alarm call point (break - glass call points) which are distributed around the School buildings. Fire alarms may also be activated by smoke detectors.

- A continuous fire alarm bell/klaxon warns you to leave the building immediately by the shortest, safest route. Red, flashing strobe lights will assist the hearing-impaired.  Close but do not lock all doors behind you

- Designated personnel, fire wardens (Appendix 2), will sweep their area to ensure all personnel have left or are leaving the building.  They will report their findings to one of the School’s Fire officers at one of the Assembly Points.

- In all emergencies staff members are requested to remain available in a nearby, but safe, place (assembly area) to provide assistance to the emergency staff member(s) if required.

- Only if safe to do so, for example at a designated assembly area, dial 2222 on any university telephone and alert security to contact emergency services. In the event that that this number is not answered dial the emergency services directly on 9999 (or 999 from a mobile or off-campus phone).  Assume responsibility. Do not assume that someone else has phoned.

- Please note, if you become stuck in the lift, activate the emergency call button or use 	the emergency intercom and wait to be rescued. Under no circumstances should you 	attempt to climb out of the lift. The lift should not be used as a means of escape.

## 5.1 Emergency Exits

If the fire alarm sounds continuously all students and staff must leave the building in an orderly manner following the green emergency exit signs to the nearest exit. Please 	ensure that you are familiar with the location of all possible exits.

Do not obstruct exits as these may be used by the Emergency Services.   Do not stop 	to collect personal belongings.  Do not run or push while evacuating, as this may spread panic. Provided that you react promptly to the fire alarm, you will be able to reach a safe place in plenty of time.

## 5.2 Assembly Points

David Keir Building:

Assembly points are at the Ashby car park (back of Keir Building) or the Ashby Front Foyer.

Elmwood/Fitzwilliam St. Buildings:

Assembly areas are in front of ELTC building or Fitzwilliam Street car park

Personnel should stay there until either Fire Service personnel (in the event of a real fire) or a fire safety officer permits re-entry, not when the alarm stops. The silencing of the fire alarm sounders does not necessarily indicate that it is safe to re-enter the building.  The alarm sounders are often silenced by the Fire Service to allow them to communicate with each other and there may still be a fire in the building. Only trained staff involved in containing the fire are permitted to stay in the building.

If a suspicious object is found, report it immediately to a member to staff.  If a member of staff is not immediately available, report it to the QUB emergency telephone number 2222.  Do not approach the object or allow other unauthorised staff to do so.  Provided there is no immediate danger to life, all local services, equipment, apparatus etc. should, as far as possible, be rendered safe before evacuating the building.

## 5.3 Fire-fighting Equipment

If you have successfully reported the fire, you may consider using the fire extinguishers provided throughout the SNBE sites.  However, you should not attempt to deal with the fire 	unless you can comply with the following:

- You are confident in the correct choice and use of the fire extinguishers provided.

- You have a colleague with you to ensure your escape route doesn’t become smoke-

filled

- The flames from the fire do not appear dangerously high.

Remember – If in Doubt, Get Out!

It might be possible to extinguish a small fire using a fire blanket, carbon dioxide extinguisher or a dry powder extinguisher.

The use of fire extinguishers will be covered by the formal training programme.  As stated above, you should not use a fire extinguisher unless you have been trained in the choice and use of fire extinguishers and you feel confident to do so.  Never use water to extinguish a chemical or electrical fire.

Carbon Dioxide (CO2) Extinguishers are suitable for use on electrical fires.  Do not use them on burning wood, paper or textile fires. Avoid holding the horn during discharge as you may receive a cold burn. Older CO2 extinguishers are coloured black.

Water Extinguishers are suitable for fires involving burning wood, paper or textiles.  Do not use water on electrical fires due to the risk of electrocution.

All fire-fighting equipment e.g. fire extinguishers, are checked annually by the University Fire Officer.  Extinguishers must not be moved from their permanent site except in the case of fire. In the event of an extinguisher being partially or fully discharged the matter must be reported at once to University Fire Officer.  On no account must a partially discharged extinguisher be returned to or left in its normal site.

## 5.4 Fire Precautions

Fire Doors and Escape Routes

- Fire Doors protect escape routes from smoke and fire and should not be compromised or kept propped open at any time.

- Escape routes must be kept clear from any obstruction or storage. Floors and walkways should not be used for general storage.

Fire Risks

- Never obstruct the ventilation of electrical equipment particularly by storing items on top of computer monitors.

- All items of electrical equipment should be switched off when not in use, especially at nights and weekends

- Switch off all lights and close all doors and windows when leaving the office in the evening.

- Avoid storing combustible materials near sources of heat.

- Keep working areas tidy.  Paper and waste in particular should not be stored in close proximity to electrical cables or electrical equipment items.

- Smoking:- Smoking (INCLUDING E-CIGARETTES/Vaping) is not permitted anywhere on the School premises excePT in designated outdoor areas.  stand well away from exit / door areas and not obstruct access.

## 5.5 Out of Hours Working and Fire Safety

All personnel working in the School Buildings outside of regular office hours must be familiar with the School’s Fire Safety Evacuation Procedures and must comply with other guidelines for Out of Hours working (see below).  Anyone remaining in the building outside normal working hours is required to react promptly to fire alarm and leave the building without delay on every operation of the fire alarm sounders.  They should evacuate using the shortest available safe route to the outside of the building and then make their way to the Assembly Point.  (This includes all those who assemble elsewhere during normal working hours).  If someone has relevant information to provide they should report to University Security so that they can pass on information to the Emergency Services.

## 5.6 Fire Safety Personnel and Routine Evacuation Drills

Periodic fire drills will be conducted by Estates in assistance with the premises Fire Officers and will liaise with Fire Wardens in the Assembly areas. If you are nominated as a warden you will receive appropriate training to enable you to carry out this role..

In the event of the alarm sounding continuously in an emergency when the School’s Safety Officer or the Premises Fire Officers aren’t on the premises, the first Wardens in the Assembly areas should co-ordinate the evacuation (liaising with other Wardens) and contact Emergency Services.  They should also liaise with QUB Security (x2222).

Fire Drills:- Fire Evacuation Controllers or Fire Wardens in charge of organising Fire Drills 	should always inform Security (x 5099) on the internal contact number in advance of running drills.

# RISK ASSESSMENT

## 6.1 General

Before commencing any work in a laboratory/studio or in the field, everyone must familiarise themselves with relevant risk assessments and sign off their understanding and acceptance of any method statement that exists.  Where none exist they must, in collaboration with their supervisor, carry out a Risk Assessment (Appendix 4).  A Risk Assessment must be completed for every procedure/experiment conducted in the workshop/studio/class/laboratory. The laboratory manager will sign off the risk assessment, which must in turn be validated through the School Health and Safety committee by the School Safety Officer.  Records of the completed Risk Assessment forms will be held by the Committee and by the lab manager within in the lab.

If necessary, Risk Assessments will be carried out in association with COSHH (Control of Substances Hazardous to Health) documentation (Appendix 4).

## 6.2 Carrying out risk assessments

A Risk Assessment identifies the hazards associated with an experiment/procedure.  The hazard is the potential to cause harm. The risk is the likelihood that harm will arise in the actual circumstances of its use.  By its very name a Risk Assessment assesses how much harm will be done if the identified hazard causes an accident/incident.   The risk will depend upon:

- The hazard presented by the substance or equipment

- How it is used

- How exposure is controlled

- To what extent people are exposed and for how long

- Whether individuals are particularly vulnerable to it

- The work which is being done

For example, for substances there is substantial risk, even from a substance that is not particularly hazardous, if exposures are excessive, but with proper precautions the risk of being harmed by even the most hazardous substance can be very small.

When using hazardous chemicals the first priority is prevention of exposure and the second is control. Prevention might be achieved by:

- changing the process of exposure, activity or method of work so that hazardous substances are not required or generated.

- substitution by a safer alternative, or

- using the substance in a safer form

When prevention is not reasonably practicable, exposure must be adequately controlled by measures other than personal protective equipment. Control measures might be achieved by:

- total enclosure of the process

- partial enclosure with extraction ventilation

- local exhaust ventilation

- sufficient general ventilation

- using systems of work and handling procedures which minimise the chance of spills, leaks, and other escapes of hazardous materials.

If, and only if, exposure cannot be controlled by any combination of the above – then personal protective equipment may be used

A thorough and proper Risk Assessment completed at the same time as COSHH documentation, will incorporate all of the above and lead to safe working practices.

6.3 Specific Studios, Laboratories, equipment stores and fieldwork locations have their own safety guidelines, outlined below.

All staff, students and visitors (not withstanding those not covered by University insurance, see below), MUST familiarise themselves on the specific health and safety nature of their work environment. This may include (but is not specific to): laboratories with water, sharps, solvents, chemicals and equipment; studios with cutting equipment, sharps and solvents, testing locations with heavy equipment, oils, raised platforms. Any isolated location that needs to be entered (stores, cupboards) for bona fide reason(s) must be assessed and a suitable person(s) – e.g. office staff, building liaisons officer, health and safety officer be informed of entry and exit.

## 6.4 Specific Risk Assessments for CCA Personnel (Centre for Community Archaeology)

CCA has a tailored set of Risk Assessment forms which have been specifically designed for the fieldwork activities undertaken by the unit.  Staff working within CCA must read the Health and Safety Guidelines and must complete a Fieldwork Assessment form before undertaking any fieldwork activities. Completed forms must be lodged in the CCA Fieldwork Risk Assessment folder in the CCA Offices.  Any queries concerning Health and Safety Procedures should be addressed to the CCA Safety Officer. CCA also undertake an annual Safe-T certification audit, copies of which are available, upon request. All CCA staff are also St. John’s Ambulance First Aid Trained.

# LABORATORY/STUDIO/WORKSHOP PROTOCOLS

Details of the School’s Laboratories, Studios and Workshops and associated personnel in charge of these areas are given in Appendix 3.

In such a diverse School, the nature of work that proceeds in laboratories, studios and workshops varies widely, thus each area must devise an easily accessible set of “Codes of Practice” or Guidelines particular to its operation.  Such contents should include:

- Information on the Staff in charge of the laboratories – Academic Lead, Laboratory Manager etc

- Assessments of Risk associated with working in the area and Local Rules if required e.g. Ionizing Radiation

- General Rules or Guidelines for minimising risks / hazards

- COSHH procedures if applicable

- Guidelines for the Safe Use of Equipment

- Emergency and Fire Safety Procedures

- Accident Reporting Guidelines

- Guidelines for Induction for new staff/students

## 7.1 General Rules

- On entering a laboratories, workshops or studio spaces personal belongings, such as bags, must be safely stowed away in cupboards/storage areas provided

- Never bring food or drinks into a laboratory or workshop

- Never eat or drink in a laboratory or workshop

- If required, always wear a lab coat, safety glasses and closed shoes and if possible always remove when leaving lab

- Long hair, jewellery and other items hanging from your person are dangerous hazards in the laboratory. Remove or firmly secure hanging items before entering the laboratory.

- Do not use corridors or staircases as storage areas. Safe circulation must be provided at all times.

- Obey all safety signs and instructions

- All chemicals and equipment must be properly labelled as per the guidelines in this document

- Manufacturers’ and suppliers’ safe operating instructions must be consulted before goods and materials are used.

- Place electrical cables where they will not trip anyone or pull over the equipment to which they are connected.

- Always switch off and unplug equipment before cleaning, adjusting or changing parts.

- Protect all electrical equipment from liquid spillage.

- Do not interfere with or alter the electrical wiring of equipment. Refer to the equipment’s manufacturer or a suitably qualified member of staff to check or undertake any electrical work.

- Do not use or operate a machine or piece of equipment with which you are unfamiliar. Always follow the maker’s instructions.

- Do not leave water or other liquids on the floor.

- Do not suck into pipettes with the mouth.  Use the standard pipette fillers provided.

- Do not wedge open fire doors

- Fire-fighting equipment should not be tampered with and kept free from obstruction

- Do not leave sharp implements on a working surface or loose in a drawer and dispose of in specially marked sharps containers

- Only carry syringes around in their box.

- Gas cylinders and other heavy objects must not lean against machines and must be properly supported with a safety chain

- Store heavy objects below shoulder height

- No ladder should usually be climbed without it being steadied at the bottom by another person. However, it would be acceptable to climb a ladder not footed at the bottom if it has been securely lashed to a sound support at the top. Planned use of a ladder should have appropriate training for “Working at Heights” completed as part of a Risk Assessment.

- No machine, guillotine or other equipment should be operated without the appropriate regulation guard in position.  This also applies to testing machines and to the diamond saw.

- Hand tools can cause injuries unless they are kept in good shape, used properly and stored safely and tidily.  The correct tool should always be used for the job.

- Never exceed the safe load weight given on all lifting tackle.

- Do not run in corridors, on stairs, or in laboratories except in an extreme emergency

- Keep working surfaces clean and tidy

- When leaving the workplace check you working area for tidiness, check for any potential hazards to others, and wash your hands thoroughly.

- All chemicals should be ordered through the Laboratory Managers or COSHH Officers and stored in the chemical store where possible.

- Keep amount of flammable material in a laboratory to a minimum and transport Winchesters in carriers provided.

## 7.2 Personal protective equipment

All researchers in laboratories, studios and workshops must wear appropriate protective equipment if required. These may include one or more of the following:

- Laboratory coat or overall

- Safety Glasses

- Closed shoes

- Gloves (appropriate for sharps/chemicals or allergies, e.g. Latex/Nitrile)

- UV protection glasses

- Dust mask

- Face shields

- Gas Masks

## 7.3 Fume cupboards

Before using a fume cupboard:

- Check to see if it is turned on and is functioning – look at the panel on the right side of the fume cupboard.

- Check to see if any alarms are on - listen and look at the panel on the right side of the fume cupboard.

- Pull the sash down to at least shoulder level.

- Close the glass doors.

- Keep sash down when fume cupboard is not in use

- If required, ensure COSHH forms and emergency procedures are displayed on fume cupboards describing the experiments that are occurring inside

- Keep all fume cupboards tidy

Please Note: Fume cupboards are NOT a waste disposal unit for hazardous gases, vapours and volatile liquids. A fume cupboard is a secondary enclosure to deal with unforeseen circumstances, emergencies, and a second line of defence for the protection of researcher’s health and safety. [See the waste disposal section for appropriate procedures for handling wastes.]

## 7.4 Control of Substances Hazardous to Health (CoSHH)

It is the responsibility of the researcher to complete a COSHH form (Appendix 4) and obtain the appropriate signatures (as described below) before using any chemicals and before commencing any experiment.

COSHH Officer for Elmwood Building: 		Jim Sloan

COSHH Officer for Fitzwilliam St Building: 	Michelle Thompson/Niamh O’Neill-Munro

COSHH Officer for David Keir Building: 		Dr. N. Ogle

Electronic copies of COSHH forms are available from SNBE SharePoint website. The information contained on the form is designed to ensure that the researcher:

- Understands the hazardous properties of the chemicals or research apparatus they are using.

- Understands the reasons for and is willing to comply with chemical, experiment or equipment specific safety protocols.

- Understands the properties of the chemicals they are using

- Can react appropriately and effectively to release of fumes, personal exposure, spills and leaks, and emergency situations.

- Know the appropriate method for waste disposal of gaseous, liquid and solid wastes produced.

The information contained on the form is also a reference guide for other researchers (in the absence of the ‘main researcher’) and therefore should clearly describe:

- Step-by step procedures on how to react appropriately and effectively to fumes, personal exposure, spills and leaks, and emergency situations.

- The properties of the chemicals that are being used, including but not limited to chemical compatibility, hazardous properties etc.

Once completed the COSHH form is to be signed first by the project supervisor and then countersigned by the laboratory manager / coordinator. In some circumstances, a researcher will be requested to obtain an additional signature, for example, from a person with a superior knowledge of the apparatus or chemicals involved. Before signing a COSHH form, the signatories must determine if the researcher can understand/react etc as per points (a) to (e) above and that the form complies with points 1 and 2 for other researchers.

Once signed the COSHH form should be photocopied. The original copy is submitted to the COSHH adviser for filing in a central COSHH form folder. The photocopy(s) is located with the experimental procedure, equipment or wherever the chemical procedure(s) are undertaken.

In addition to the COSHH photocopy, all experiments, equipment or procedures must have a fully completed and signed emergency/leak quick reference guide. The quick reference guide must be clearly displayed on all apparatus, or wherever chemicals are in use. Researchers are recommended to use a plastic cover to contain both the COSHH form and the quick reference form for easy and safe display. If either form becomes damaged it must be replaced immediately.

COSHH forms and emergency quick reference guides are to be reviewed by the researcher when they change an experimental procedure covered by the forms or every 6 months. The date of review should be written on the COSHH form and signed by the supervisor.

## 7.5 Unattended equipment

The following rules apply to experiments or equipment being left unattended:

Unattended and out of hours experiments must have a risk assessment, emergency quick guide and where appropriate a COSHH form regardless of the level of hazardous or risk they pose

Experiments requiring flames such as Bunsen burners or gas rings are not permitted to be left unattended

Experiments using disposable items that wear with time or experiments that produce waste that may be left unattended must be checked regularly.

Unattended experiments involving liquids and electrical equipment should be arranged or positioned such that liquid spills do not cause damage and/or electrical fires.

## 7.6 Late and Lone Working in Laboratories, Workshops and Studios

For late work in laboratories, workshops and studios etc, express permission is required from line managers and/or workplace managers.  Work involving hazardous activities as per information provided in the University’s policy on lone/out of hours working is not necessarily permitted, however through proper communication and rigorous risk assessment, written permission may still be granted. Local health and safety protocols must be followed. Normally, permission is granted for low-risk activities following a formal risk assessment and mitigation of any significant risks. Work may be conditional on having two persons present. Where late working in laboratories, workshops and studios is not normal practice, staff must notify security that late working is taking place and again on leaving the building. Where late working is a regular occurrence, Security must be consulted on the arrangements in place.

Approval for working alone may be given for specific activities and therefore staff and students are encouraged to write down the procedures and tasks they wish to obtain approval for and carry out a Risk Assessment.

The university guidelines also stipulate that approval for out of hours work can only be given for one night at a time. Some low risk tasks that take only a few minutes and that occur regularly, such as turning off/on equipment or checking visual displays may be deemed exempt from out of hours forms. These tasks require the prior written approval of the Laboratory/Workshop/Studio Manager.

Anyone entering any of the School buildings at a time when the front door is locked must, on entry and on departure, sign the in/out book, even if his/her entry or departure is through some other door. In/Out books are located at the main entrances to all School buildings. For work in annex buildings, the person responsible for that location must be informed of your working intentions.

## 7.7 Disposal of waste

The disposal of gases, liquids and solids is the responsibility of the individual who created them. University regulations state that individuals are personally responsible for the appropriate handling of waste. In a laboratory scenario, the correct method of disposal for any substances must be determined during COSHH assessment.

If doubt arises in waste disposal contact a supervisor, the laboratory manager or the University Safety Service.

Gases (i.e., nitrogen, helium, argon) in cylinders are disposed of by venting through a fume cupboard at a rate no greater than 10% of the cabinets total rate of airflow. Small volumes of general-purpose gases from equipment may be disposed of directly to the atmosphere if it is deemed safe to do so. This must be approved by the academic supervisor of the equipment

The main methods for disposing of liquid waste are listed below. The appropriate method must be determined before using any of the disposal methods listed. Choosing a disposal method without proper consideration is not permitted. Where more than one waste disposal method is available for a given liquid waste, the more environmentally responsible method should be utilised.

Disposal directly to waste drains

A limited number of liquid waste types may be disposed of directly to waste drains. Wastes disposed of in this manner should be diluted with copious amounts of water. Before disposing any waste via the drains, verification that this is the appropriate method must first be obtained.

A concentration that is low or reasonable must be established for each acid or solvent whilst a COSHH form is being developed.

Pre-treatment then disposal to waste drains

Treatment of some biological and chemical liquid wastes can enable their disposal via waste drains.

Biological waste: Consult the University Biological Safety Officer.

Chlorinated waste: Known waste products should be collected in a Winchester until several litres has been produced and then treated before disposal. Researchers expecting to produce this type of waste are requested to discuss the volume of waste/time to be produced with their supervisor and the laboratory manager.

Oxidation pre-treatment: some liquid waste can be rendered non-hazardous via treatment with oxidants such as peroxide. Free cyanides can be treated in this manner. Before oxidation treatment, the products of both hazardous compounds and non-hazardous compounds must be pre-determined. This to ensure that adverse oxidant reactions are identified before treatment (some compounds become explosive upon oxidation e.g. solvents). All oxidant treatment must be performed in a fume cupboard at a controlled rate.

Other pre-treatment methods: Other methods are available for the destruction or detoxification of waste. Where possible researchers are encouraged to develop or implement these procedures over other waste disposal methods.

Collection and disposal via specialised waste facilities

Most solvents, heavy metals, and other hazardous substances (not available for disposal by method 2) must be collected for disposal at specialised waste treatment facilities. The mixing of waste types should be avoided since this hinders their disposal. Strongly acidic, strongly alkaline, and oxidising liquid wastes should be stored in plastic waste containers available from chemistry stores. Solvent waste should be stored in empty, clean Winchesters (please ensure old chemical labels are removed or well obscured).

All stored liquid waste must be clearly labelled with the chemical name(s) approximate concentration, researchers name and any other chemical components that could potentially react with the waste.

All waste containers should be stored under fume cupboard F4. Please note that there is limited space for liquid waste storage and therefore researchers expecting to produce greater then 3 litres of liquid waste per quarter are requested to discuss this with their supervisor and the manager of the laboratory. The manager will consult with the School’s Safety Coordinator and arrange for waste to be removed not only from the laboratory but also the building.

Medical waste, sewerage, bodily fluid waste, pathogenic micro-organisms.

Before undertaking research involving any of the above, methods should be written and authorised for implementation, i.e. a Risk Assessment completed.  The University Biological Safety Officer should also be contacted.

## 7.8 Sharps and Broken Glassware

All sharps must be placed in a purpose-built sharps bin. Under no circumstances should syringe needles, blades etc of any kind be placed in the general waste bins. When a sharps bin is full it should be sealed and given to the laboratory manager for safe disposal. All broken glass items are to be placed in appropriate container or designated glass bin. If necessary, fill in the accident book.

- Disposable gloves, cleaning cloths, protective clothing, tubing etc contaminated with hazardous substances

Some items in the laboratory are potentially contaminated with hazardous substances. These items should be placed in a hazards bag, sealed, clearly labelled and then placed in the hazards bin. Particular care should be taken with materials known to be highly contaminated with hazardous substances (e.g.: materials used to clean up spills and leaks), this type of waste should be placed in a hazards bag separate from other waste types, very clearly labelled and then placed in the hazardous waste bin. Do not place solid waste in hazard bags if you suspect hazardous gases may evolve, or other hazardous reactions may occur (e.g.: many solvents will dissolve plastic bags, some substances explode on drying out etc).   When the hazardous waste bin is full it is the researcher’s responsibility to carefully seal the top of the bag, clearly label the full bag, and contact the laboratory manager for its safe disposal).

## 7.9 Non-hazardous general waste

General waste items only are to be placed in the general waste bin. Plastic containers, gloves etc, which have potentially come into contact with non-hazardous chemicals, should be rinsed carefully before placing with the general waste. General waste is collected by a cleaner, please keep the areas tidy ensuring all waste goes into the bin and not beside it (excepting large items). Standing water containers should be flushed on a monthly basis, as they form a Salmonella/Legionnaires hazard: such are inspected by Safety Services during periodic reviews.

## 7.10 Gas cylinders

Storage

Cylinders are painted in accordance with British Standard 349 to indicate the gas contained therein but it can be dangerous to rely upon the colour code alone, and all users should check the official stamping or label.  The value outlets are screwed left hand for combustible gases and right hand for incombustible gases to avoid the dangers that could arise by their interchange.

Storage areas should be fire resistant, well ventilated, properly drained, and protected from the direct rays of the sun. Ignition sources are banned from such areas and smoking prohibited. Any electrics within the area should be flameproof and the area must not ventilate into a building. Where fitted the valve protection cap should remain in position until the cylinder has been transported to its point of use and secured in position. Because leaking cylinders are inherently unsafe the valves of all cylinders should be tested before the gas cylinder is taken into a building.

Cylinders should not be lifted by the cap, dragged or slid along the ground, or dropped. Cylinders should be transported by means of a suitable hand trolley and then supported or secured in the vertical position:  free standing cylinders are not permitted.  Cylinders of liquefied gases (e.g. ammonia, carbon dioxide, chlorine, nitrous oxide, acetylene) MUST be used vertically.

The number of cylinders within each laboratory must be kept to a minimum to reduce the fire and toxic potential, and empty cylinders should be removed promptly.  Full, In Use or Empty cylinders, should be clearly identified by a standard luggage type label for quick reference purposes and stored separately.  Persons handling compressed gases must ensure they are initially trained in their safe use and familiar with procedures recommended by the various suppliers, and that the correct regulators and valves are used in the proper manner.  Cylinders, valves and regulators must be checked periodically by a member of staff experienced in the maintenance and working of such items.  The contents of a gas cylinder must never be discharged without the use of a pressure control valve. Uncontrolled admission of a compressed gas to glass apparatus could result in a serious explosion so a safety valve device must be fitted between the reducing valve and such apparatus. A gas cylinder must never be discharged completely – a positive pressure of about 2 atmospheres should be left to prevent diffusion of air into the cylinder.

If required, a cylinder key should be kept with the gas cylinder and the cylinder turned off at the main valve on cessation of every period of work.  All main cylinder valves should be opened slowly to eliminate the possibility of compression heating causing an explosion within the regulator.  Connections to flexible pipework should be made secure with ‘Jubilee’ clips or similar type of fastening.

The hazardous properties of a compressed gas, e.g. flammability, toxicity and chemical activity must be fully known by every user.

Oil or grease will ignite explosively in the presence of oxygen and thus cylinders and valves must be kept away from possible contamination. The too rapid opening of a valve on a hydrogen cylinder can cause ignition due to static.

Compressed Air

These supplies are very dangerous if misused and must be treated with respect. A jet of compressed air must never be directed onto the body as it can introduce air into the bloodstream or produce eye injuries and burst eardrums. Compressed air should never be used for cleaning purposes or for ventilation purposes.

## 7.11 Ultra-violet Light

No ultra-violet source should be viewed directly, as the effect on the eye is acute.  The lamps should always be suitably shielded and special eye goggles worn.

## 7.12 Medical Concerns

Students or member of staff who suffer from any medical condition (for example, asthma, diabetes) that may be compromised while working in the laboratory are strongly encouraged to first discuss their proposed work with the day-to-day manager of the laboratory.  If the person does not wish to discuss the problem with the laboratory manager they may then approach an appropriate member of staff or the University Safety Service.

## 7.13 Pregnancy

Women who know or suspect that they are pregnant or anticipate that they may become pregnant and those that are breastfeeding are strongly recommended not to work with all potent carcinogens and any compounds suspected or known to cause birth and infant defects in any living species (radiation, lead compounds, toxic compounds).

Men anticipating that their partner may become pregnant are also strongly recommended not to work with all potent carcinogens and compounds suspected or known to cause birth and infant defects in any living species.

Women wishing to use any of the above compounds who may consider themselves included in the above statement are strongly encouraged to discuss their research with the day-to-day manager of the laboratory or if this is not desirable then an appropriate member of staff.  It is University Policy that the University Occupational Health Physician is also informed of the work that is to progress so that he/she may also assess the situation.

Please note the webpage on Nursing Mothers’ Rooms:

https://www.qub.ac.uk/directorates/EstatesDirectorate/UniversitySafetyService/HealthandSafetyPoliciesandGuidance/PoliciesandProceduresLibrary/Breastfeeding/

The COSHH Adviser possesses a comprehensive list of all potent carcinogens and toxic compounds that cause birth defects.  Students and members of staff are strongly encouraged to consult this list before progressing with their research.

HAZARDOUS CHEMICALS/MATERIALS

## 8.1 Handling of Chemicals

Carefully open all chemical containers. Many chemicals can become pressurised or produce hazardous vapours upon storage. Open all hazardous chemicals in a fume cupboard.

Some chemicals must be kept in specialised atmospheres to ensure the purity and to avoid unwanted reactions. Know the properties of the chemicals you are using and buying.

## 8.2 Labelling of containers

All chemicals, diluted chemicals, and wastes must be labelled appropriately. It is the responsibility of the researcher to correctly label their containers. Sloppy labelling of hazardous chemicals and diluted chemicals is seen as a serious health and safety breach.

## 8.3 Labelling your research

All research experiments, equipment etc using any form of hazardous material must be carefully and clearly labelled.  The day-to-day manger has an array of hazard symbol labels. It is the responsibility of the researcher to correctly label their experiments etc, sloppy labelling is seen as a serious health and safety breach.

## 11.4 Flammable solvents

Solvent vapours can be ignited by naked flames, the electric elements of heating mantles, hotplates, sparks from thermostat controls, switches, the hot glass surface of electric light bulbs and other surfaces at or above 100°C.

Winchesters of flammable solvents must be stored in the storage area under fume cupboard F3. Transferred or dissolved solutions of solvents for individual use are stored under fume cupboard F5. Winchesters or containers of solvents must not be kept or used on benches, use the fume cupboards. Very small volumes of solvents, in closed containers, may be used outside the fume cupboards for activities such as GC syringe cleaning.

## 11.5 Highly reactive substances

Some chemicals are highly reactive in specific circumstances. For example alkali metals are used in a range of chemical analyses. When used near water, or any type of wet surface extreme care should be taken because alkali metals react violently with water.

## 11.6 Radioactive Substances

All substances known to be, or thought to be, radiological hazards must be tested by your local safety officer, and/or the University radiation protection officers. Should storage of radioactive substances be approved, these must meet all containment laws and University regulations.

## 11.7 Nanomaterials and Carcinogens

The University has a record of all nanomaterials and known/suspected carcinogens. All such must be reported to the laboratory/location/workshop/storage/studio manager, and or buildings officers and health and safety coordinators. Advice on what constitutes a nanomaterial or carcinogen can be obtained by the health and safety coordinator and or Safety Services, who maintain an up to date record of such.

# FIRST AID PROVISION AND ACCIDENT/NEAR MISS MANAGEMENT

The School adheres to the Code of Practice and Guidance relating to the Health and Safety (First Aid) Regulations (Northern Ireland) (1982). This relates to the adequate provision of first aid treatment material and training of those responsible for administering first aid. Suitable signage throughout the workspace directs individuals to the location of first aid boxes and indicates those with first aid responsibility. The current list of first aiders is displayed in Appendix 3 and is always under review.

## 9.1 Location of First Aid Boxes

In addition to each laboratory and studio of SNBE possessing a First Aid Box, additional units are available in the Administrative Office of each location, the School Van and one is available in the office of the School Health and Safety Coordinator (Dr. N. Ogle, Room 0G.022)

All persons should ascertain the locality of the nearest first aid box, fire extinguisher and escape route in relation to where they normally work. All first aid boxes have been placed under the care of a staff member or technician who should ensure that they are freely available and are kept stocked. First Aid should only be rendered by a trained First Aider. Minor first aid procedures (i.e. band-aids) can be undertaken without the presence of the first aid officer.  But the first aid officer must be informed in order to record the incident if required and to maintain the first aid stock.

## 9.2 Accident Management and Reporting Procedures

Where medical attention beyond first aid is required, convey the casualty to the nearest accident and emergency facility for treatment, provided that it appears safe to do so.

In the case of a major injury, ON NO ACCOUNT MOVE THE PATIENT. Any urgent cases should be taken to the hospital immediately by summoning an ambulance. Dial 2222 or 9999 and ask for an ambulance.

All accidents/near misses and those situations/events involving a casualty or first aid must be reported online using the “IRIS” accident reporting portal by trained Accident Investigators:

https://www.qub.ac.uk/directorates/EstatesDirectorate/UniversitySafetyService/HealthandSafetyPoliciesandGuidance/PoliciesandProceduresLibrary/AccidentReporting/

and the incident will be directed to trained personnel.

Accidents are categorized as follows:-

- accidents resulting in death;

- accidents resulting in major injury;

- accidents resulting in dangerous occurrence;

- accidents resulting in incapacity for work for more than three days (an injured employee claims industrial injury benefit).

All accidents even those of a minor nature must be recorded.  Any safety concern or potential hazard should be reported to either School Safety Coordinator directly or via a member of the School Safety Committee.

Brief treatment protocols:

Chemicals spilled on the body must be washed off with an excess of cold water immediately.

Emergency Shower: Elmwood Building is located in the basement

Emergency Shower: Arch-Pal Buildings is located in the Pollen Preparation Room (First

Floor, Rm 01.15).

Emergency Shower: DKB Third floor 03.434

Eye Wash with hose: DKB Environmental Lab 2nd floor.

Emergency Services Contact Information

In the event of a fire, medical or other emergency contact the Emergency Services:

Internal Emergency Services: 2222 (from a QUB internal phone)

External Emergency Services 999 (from a non-QUB internal phone)

QUB Security: 5099

Eye Contamination:

Do not delay as this can cause severe or permanent damage. Wash with water for at least 20 minutes with eye wash bottles provided. Remove to hospital as soon as possible after washing out eye.  Do not use a neutralizing solution, this can increase the injury.

Burns:

Every burn can be complicated by shock and requires immediate treatment.  Flush with cold water.  Remove contaminated clothing and replace with clean clothing. Apply a neutralizing agent in the case of acid or alkali burns. Seek medical advice. Do not break blisters. In the case of extensive burns, cover to exclude air, lie the patient with head and chest lower than the rest of the body.  Seek medical advice.

Inhaled Poisons:

Carry the patient out to fresh air immediately without risk to oneself and if possible apply artificial respiration, keeping the patient warm. Seek medical advice.  Do not become a victim yourself, by entering or remaining in a laboratory where toxic gas or vapor has escaped in amounts large enough to cause discomfort or danger.

Ingested poisons:

Since it is impossible to stock of antidotes to treat all forms of poisoning, the best general procedure is to seek medical advice immediately. Do not attempt to make the victim sick as this could make the situation worse, e.g. a person swallowing strong acid or alkali should not be made sick as this will simply burn the throat etc. again on the way up.

## 9.3 Leaks and spills

- Gas Leaks

If you discover a hydrogen gas leak, turn off the hydrogen gas at the cylinder if you are familiar with the operation of the gas cylinders or inform someone close by who is familiar with gas cylinders to do so. Evacuate the area, opening windows that are easily and quickly accessible on your way out. Immediately inform the most senior staff member and/or the laboratory manager. Prevent individuals from entering the laboratory.  Do not re-enter leak area until you have been authorised to do so. Minor hydrogen gas leaks must be reported as per an incident. Hydrogen gas leaks causing a fire, explosion or significant equipment damage are reported as per the accident guidelines.

If you discover a liquid nitrogen leak, inform the senior staff member present, evacuate the area and contact the laboratory manager.  Prevent individuals from entering the laboratory. Do not re-enter the laboratory until you have been authorised to do so.

If you discover a helium, nitrogen, argon or carbon dioxide gas leak, THINK before taking any action. High-pressure gas leaks can cause severe injury due to very cold temperatures resulting from gas decompression and due to the force of gases moving from a high-pressure zone to a low-pressure zone and displacing air.

If you are not familiar with the operation of gas pipe lines and cylinders associated with any equipment in a laboratory setting then leave the area. Inform the laboratory manager and a senior staff member.

If you are familiar with gas cylinders and their associated equipment, then:

If the gas leak is not at the cylinder, firstly turn off cylinder sources then turn off any affected equipment and finally when the gas leak has stopped investigate the situation. Inform the laboratory manager and record incident.

If the leak is at a regulator or downstream of the cylinder then assess the severity of the leak - only turn off the cylinder with safety glasses and thick gloves if it is safe to do so. If the leak is at the neck of the cylinder itself evacuate the area and allow the cylinder to decompress on its own. Under no circumstances should the cylinder in this situation be touched by anyone. Inform the laboratory manager.

- Liquid Leaks and Spills

All leaks and spills must be treated initially as potentially lethal. Liquid leaks and spills could potentially contain fast acting poisons such as cyanide and volatile respiratory asphyxiants such as hydrogen sulphide.

No hazardous or chemical spills are to be cleaned up with standard implements such as mops and cloths. Specialised chemical absorbent and disposable paper towel should be made available. All materials used to clean spills must be contained in solid or liquid waste containers and disposed of as per waste disposal instructions detailed on a COSHH form.

Some substances do not have hazardous properties when wet but are hazardous when they dry out. Compounds in use with this property should be highlighted in a CoSHH Risk Assessment and included in documentation. As a precaution do not allow absorbents etc used for a spillage to dry out.

Chemically non-hazardous leaks and spills pose a danger to people and equipment because they can be slippery, therefore all leaks and spills should be cleaned up efficiently. Do not leave a spill unattended: ask for assistance from other researchers if you need to leave the area.

If you discover a liquid leak or spill on a piece of research work that is your own, carefully evaluate the situation first, THINK about the potential hazards then address the spill as per the guidelines established on your COSHH form. Always inform the laboratory manager, your supervisor (if applicable) and the Safety Coordinator even if the spillage is non-hazardous.

If breathing apparatus is required, specifically for the David Keir site:

There are four Dräger escape sets available from the School of Chemistry.

All are located on the Lower Ground Floor opposite the Mass Spec Room LG.007.

THIS EQUIPMENT IS STRICTLY FOR THE USE OF TRAINED PERSONNEL ONLY.

These are:

| NAME | ROOM NUMBER | EXTENSION |
| --- | --- | --- |
| CONOR MCGRANN | LG 007/OG.414 | 4676/4435 |
| CLIVE MURRAY | LG.420 (Stores) | 4440 |
| DAVID COULTER | 0G.208 | 4464 |
| PATRICK LYNER | LG.201 | 4221 |

If there is a leak of compressed gas or a CO monitor is activated or the likelihood of oxygen deficiency as detected by Oxygen monitors in ANY room/lab you MUST leave that area immediately and contact any one of the above team AND the School of Chemistry Safety Officer Jackie O’Connor on 4673.

Remember the hazard of a solution depends on both the concentration of components as well as the hazardous properties of the components

If you discover a liquid leak or spill on a piece of research work that is NOT your own, immediately inform the most senior member of staff present.  This member of staff should contact the project supervisor as indicated on the COSHH form that is attached to all research work. If in doubt of the identity of the project supervisor or if they are unavailable immediately contact the laboratory manager.   The senior member of staff will immediately inform you of any action you are to take.

If none of these individuals are present and are not available then evacuate the laboratory and prevent persons from entering. Contact Security and continue to try to contact the emergency members of staff. Never enter the laboratory if you suspect toxic fumes or gases are present – not even to rescue a casualty. Contact a person qualified to use breathing apparatus and they will perform the rescue (see above).

- Dry leaks and spills

If you discover a dry leak or spill follow the guidelines for liquid leaks and spills.

Note:

Some dry chemicals have hazardous properties when wetted, therefore water or any liquids must not be used to clean up dry spills.  This should be indicated on the COSHH form.

Chemically non-hazardous leaks and spills pose a danger to people and equipment because they can be slippery, therefore all leaks and spills should be cleaned up efficiently.

# MANUAL HANDLING

The Manual Handling Operations Regulations 1992, as amended in 2002 (‘the Regulations’) apply to a wide range of manual handling activities, including lifting, lowering, pushing, pulling or carrying.

The Regulations require employers to:

- avoid the need for hazardous manual handling, so far as is reasonably practicable;

- assess the risk of injury from any hazardous manual handling that can’t be avoided; and

- reduce the risk of injury from hazardous manual handling, so far as is reasonably practicable.

Recommended safe lifting limits before automation is given by the following schematic:

Employees have duties too. They should:

- follow appropriate systems of work laid down for their safety;

- make proper use of equipment provided for their safety;

- co-operate with their employer on health and safety matters;

- inform the employer if they identify hazardous handling activities;

- take care to ensure that their activities do not put others at risk.

Avoiding manual handling

Check whether you need to move it at all

For example:

- does a large workpiece really need to be moved, or can the activity (e.g. wrapping or machining) safely be done where the item already is?

- can raw materials be piped to their point of use?

Consider automation, particularly for new processes

Think about mechanisation and using handling aids

For example:

- a conveyor;

- a pallet truck;

- an electric or hand-powered hoist;

- a lift truck.

The University Guides on manual handling can be found here:

https://www.qub.ac.uk/directorates/EstatesDirectorate/UniversitySafetyService/HealthandSafetyPoliciesandGuidance/PoliciesandProceduresLibrary/ManualHandling/

Training for manual handling can be arranged through the university safety service – contact your line manager / supervisor to discuss training needs and arrange courses.

# NOISE MANAGEMENT

Excessive noise in the workplace can result in damage to hearing and other health 	symptoms. Noise risks should be managed by taking the following steps:

1. Assessing the Risks. This should include: i) identifying noise hazards; ii) estimating likely	exposure to noise; iii) identifying measures required to eliminate or reduce risks; iv) controlling exposure to protect employees; v) making a record of actions to reduce risks.

2.	 Employing Protection Measures to eliminate or control risks. These might include: i) 	eliminating or reducing risks using good practice and known control and management solutions; 	ii) implementation of technical noise control measures; iii) ensuring legal limits on 	noise exposure are not exceeded; iv) protecting employees with hearing protection; v) managing the use of hearing protection within zones with instruction and supervision.

3.  Providing worker information and training. Information, instruction and training about the 	risks, control measures, hearing protection and safe working practices should be given 	following consultations with QUB Estates Department and the University Safety Services.

4.   Health Surveillance. Employees may need to attend hearing checks.

Staff with concerns about excessive noise in the workplace should contact their line managers and Buildings Liaison Officers to arrange for noise-related workplace inspections to be carried out by Estates.

Further guidelines are provided by the QUB University Safety Service, including guidance notes on Controlling Noise at Work supplied by the Health and Safety Executive:

https://www.qub.ac.uk/directorates/EstatesDirectorate/UniversitySafetyService/HealthandSafetyPoliciesandGuidance/PoliciesandProceduresLibrary/NoiseatWork/

ELECTRICAL HAZARDS

## 12.1 General

The Estates Directorate is responsible for the main electrical supply system up to the socket outlets within a laboratory or room – these socket outlets may be single-phase or 3-phase of 5, 13, 15 or 30 amps rating.  Supplies may be fed to an isolator near a specialised rig, piece of apparatus, or machine, from which a supply in run in flexible armoured cable direct to the starter.

Schools are normally responsible for the electrical supplies from the outlets to the various items of equipment and have the responsibility of ensuring that such equipment complies with the Electricity Supply Regulations and the Regulations for the Electrical Equipment of Buildings. Apparatus which is satisfactory in the domestic environment is not always suitable for the laboratory of workshop.

3-phase outlets must on no account be used for single-phase equipment.

Conditions under which live terminals are exposed can rarely be tolerated.  Where apparatus with exposed live terminals is in use there must be a master isolator clearly marked “Switch off in Emergency”, and all persons using the laboratory and the Local Safety Adviser must know of its existence, location, and function.  No apparatus with exposed terminals must be left on unattended, and the master isolator must be put in the “off” position.

Clearly work in this category calls for the close supervision and lone working is not permissible.  If undergraduates are involved, close supervision and even more stringent precautions are needed to obviate hazards – e.g. earth leakage trips should be provided to the laboratory supply.

All high voltage equipment (i.e. high tension, HT, 650V to 3000, and extra tension.  EHT, above 3000V) shall be adequately enclosed with screening placed at an accepted distance from any exposed live parts.  Warning notices saying “Danger – High Voltage” must be attached, in conspicuous positions, and a standard notice for dealing with electric shock treatment should be displayed prominently in the vicinity. No person may enter a high voltage enclosure until all the supplies are isolated and relevant apparatus earthed.

## 12.2 Wiring and earthing

Wiring should be capable of carrying the current which can flow through it in both normal and abnormal circumstances, protected from mechanical wear and tear, not located where it could suffer chemical or other action that could affect its insulation, waterproof where water supplies are available within the vicinity of the apparatus and flameproof where flammable gases or solvents are used.  All circuits to equipment must be protected by a correctly rated fuse, namely, 2 amp up to 400 W, 5 amp up to 1,200 W and 13 amp for loads up to 3 KW

Adequate earthing of external and exposed metal parts of electrical apparatus is normally obtained via the standard 13 amp mains plug.  “All insulated” and “double insulated” equipment requires no earth connection and will be marked as such – it must conform to BS 2769 and BS 3456 respectively, bear the BSI trade mark, and be tested at least twice per annum by experienced electrical staff to ensure that the insulation remains effective.

## 12.3 Portable Appliance Testing (PAT)

PAT testing is carried out annually by the school by trained personnel.  PAT testing equipment is calibrated annually and results retained by the trained individual.

## 12.4 Lasers, High intensity lights, LED

Any equipment that requires a laser or specialist lighting equipment (UV, IR, specialised light) must be recorded as present and in use to both the School Health and Safety Committee, as well as the University Safety Service.

MECHANICAL SAFETY

## 13.1 Introduction

These rules are intended as a guide to those who work in workshops with machinery.

Although all workshops contain similar types of machinery and materials there will be hazards which will be peculiar to each.  These hazards should be identified and either eliminated or drawn to the attention of the staff.

## 13.2 Unskilled persons

Unskilled persons will not be permitted to operate workshop machinery or processes of any kind until they have received proper instructions in their safe use from a competent member of staff.  Thereafter they must be adequately supervised at all times.

## 13.3 Skilled Staff

Skilled staff bear a responsibility of care for themselves as well as those under instruction or being supervised. They can fulfil this role by applying good practice and by setting an example.

## 13.4 Machine and Equipment

Machines and equipment must at all times be maintained in a mechanically and electrically safe condition.  Should a fault develop on a machine while it is in use, the machine must be stopped, electrically isolated, and the fault either properly rectified immediately or reported to the Laboratory Managers and the relevant Buildings Liaison Officer.  Under no circumstances should a faulty machine be left in such a condition to give rise to a hazard for the next operator.

When a job is finished the machine must be switched off and left in a safe state for the next operator.

## 13.5 Power Hand Tools

The same rules apply to those electrically powered small hand tools as apply to larger pieces of machinery in that a competent member of staff must initially instruct an unskilled person in their proper use. These tools must only be used for the purpose for which they were designed and within their capacity.

The electrical lead and plug of all portable electrical equipment should be inspected regularly (PAT testing).

## 13.6 Protective Equipment

Protective clothing, gloves, safety goggles, ear defenders and dust masks are supplied by the School and are found in the appropriate laboratories.  These items are issued for the protection of the operator and must, where applicable, be worn.

## 13.7 Material Handling

Before commencing work on a specific task all possible hazards should be considered and either eliminated altogether or minimized as far as possible.

The following points should be borne in mind when handling large or heavy objects.

  - Gloves should be worn when handling sharp or slippery objects.

  - Safety footwear should be worn.

  - When carrying any material or load, make sure that you can see over it.

  - Never attempt to lift by yourself objects that are too heavy - always get assistance.

  - When more than one person is involved in lifting or moving operation, only one should be in charge and give commands.

  - When lifting and carrying, always follow the recommended procedure, which is:

    - Take a firm grip.

    - Keep the back straight and arms close to the body.

    - Place the feet slightly apart.

    - Bend the knees and lift straightening the legs.

  - Use protective clothes to suit the materials being handled.

  - Never walk or put fingers or toes below a suspended load.

# OUT OF HOURS/LONE WORKING POLICY AND GUIDANCE

Staff and students may be permitted to work alone or in isolation provided appropriate precautions have been taken and the risks are not unacceptable. Hazardous work activities associated with significant risks should not be undertaken in isolation except where there are appropriate measures in place to mitigate the risk.

Categories of hazardous work activity with significant risks may include work with:

- dangerous machinery or equipment;

- high-voltage electrical systems;

- dangerous chemicals;

- pressure systems;

- sources of ionising and non-ionising radiations;

- cryogenic materials;

- hot substances or equipment;

- cutting tools or implements or other sharp objects.

Certain categories of hazardous work shall not be undertaken by staff or students in isolation under any circumstances. These include:

  - any work involving entry into a confined space or other area where there is a reasonably foreseeable risk of exposure to asphyxiating or toxic gases or vapours or conditions resulting in oxygen deficiency;

  - any work on fragile roofs or at high levels where measures to guard against falls are not provided;

  - any work entailing entry into or access onto any building or structure in the course of demolition or erection or any workings above or below ground level where there is a reasonably foreseeable risk of collapse or other failure.

## 14.1 Risk Assessment for Lone Workers.

Before any work in isolation is undertaken, the risks to health and safety must be assessed and, where significant risks exist, they must be documented via a fully authorised Risk Assessment. This is equally applicable to both office work and laboratory/studio work. Authorisation is granted by the appropriate line manager, for example a lab manager.

Safe working arrangements such as in an RA or safe system of work must also include the identification of the action to be taken in the event of an accident or emergency. Any person working in isolation that becomes aware of or encounters an unforeseen hazard should stop work (as long as it is safe to do so) and leave the area if necessary. Advice or assistance should be sought from their supervisor / line manager or Security, if their supervisor is not available.

## 14.2 Lone working and Medical Fitness.

The medical fitness of staff and students should be taken into account before permission to work in isolation is granted. Medical conditions which are likely to require urgent medical attention, such as some forms of diabetes or epilepsy, may preclude working in isolation.

All research students and staff should notify laboratory staff if they are suffering from a medical condition which may prohibit safe lone working in the School’s laboratories and appropriate emergency arrangements should be put in place at laboratory induction.

Undergraduate and taught masters students suffering from similar medical conditions must inform the teaching staff as well as laboratory staff and a risk assessment be carried out to consider whether lone working can be undertaken.

## 14.3 Lone Working – Informing Security

During normal working hours lone workers undertaking work involving pre-approved significant risk should contact the University Security Control Room (Tel: 5099) to have their presence recorded as a point of first contact in the event of any security or safety issue. Out of hours Security must be informed (see below). Where appropriate, further calls can be agreed with the Control Room staff to periodically check on welfare.

## 14.4 Out of Hours (before 8am and after 5 pm) Working

Staff and research students are permitted to work on School premises out of hours, provided the risks are not unacceptable. Hazardous work activities associated with significant risks (see Section above) should not be undertaken.

Out of hours working in laboratories (after 5pm) for staff and postgraduate students is not permitted, unless this has been approved by appropriate line managersand appropriate risk assessments carried out.

No undergraduates are permitted to work in the School laboratories out of office or timetabled class hours.

Queen’s Online also has a “Lone Working Form” for all prospective out of hours workers to complete before embarking on any work. This informs Security of your presence.

## 14.5 Health and Safety awareness for persons working out of hours

All personnel working on School premises out of hours must be familiar with the following Health and Safety and Security related procedures pertinent to the study area;

- Fire Safety Evacuation and Emergency procedures;

- Information relating to access within the building;

- Instructions on how to secure rooms and exit doors within the building on leaving.

## 14.6 Support Services

Support services such as fire wardens and first aiders will not normally be available outside normal working hours. Out of hours, individuals are responsible for evacuating the building in the event of a fire alarm.  Emergency assistance can be obtained by contacting the Security Control Room, Level 1, Administration Building, which is staffed 24 hours a day, all year round.

Emergency Number Extension: 2222 	(External 028 9097 2222)

Internal Extension Numbers: 5099 and 5098 	(External 028 9097 5099)

Staff are advised to have these numbers displayed and readily available. If there are any concerns in relation to personal safety or suspicious activity within the School buildings, they should be reported to the Control Room immediately.

## 14.7 Late (after 7pm) and weekend working

Staff and postgraduate students who are permitted to work in the School buildings out of hours must sign a ‘Signing In Book’ when in the buildings between the hours of 7pm and 7am (weekdays) and at weekends (any time).  Copies are available in the foyer areas of all School buildings.

Note: you must sign in even if present in the buildings prior to 7pm, and sign out again on leaving.

These registers will be checked periodically by QUB Security who undertake regular inspections of university buildings out of working hours.

Please note that magnetically locking doors on the School buildings can be released by pressing the green button located beside these doors.  In an emergency and in the event of failure of the release mechanism, activation of the green break glass will release the door.

# FIELD TRIPS / PLACEMENT AND WORK OUTSIDE THE SCHOOL

## 15.1 General

A code of practice covers all work carried out by members of the School on outside activities such as, for example, research work on site, testing in industrial environments, at surveying camp, etc.

Every member of the School is invariably required to sign a declaration on site accepting responsibility on behalf of the University for any injury caused. If the Leader of the group is asked to sign one form on behalf of the group, on the back of the declaration the following statement should be included and each member of the group must sign his/her name underneath:-

“I have read the condition on the front of this sheet and I am in agreement”.

Every student must sign this statement otherwise he/she must not be allowed on site.

## 15.2 Preparation for site visit

Before a site visit a thorough assessment of the risk factors involved must be undertaken by the organisers and leaders. In some circumstances the Risk Assessment may need to be undertaken in conjunction with the School’s Disabilities Officers or with QUB Disability Services. Where risks are perceived, agreed procedures should be introduced and implemented to minimise such risks or hazards.  A suitable number of supervisors should be present during the visit.

Pre-site briefings may be necessary to cover:

- the importance of Health and Safety generally

- responsibilities

- general site hazards

- specific site hazards advised by a contractor in advance

- requisite personal protective equipment (PPE) and appropriate clothing (e.g. hard hat, high visibility waistcoat, safety boots)

- behavioural protocol.

Risk assessment procedures for fieldwork should be geared to the level of risk.  There should be evidence that a serious and systematic attempt has been made to establish a safe system of work.  Where necessary adequate emergency equipment should be provided.

## 15.3 Contaminated Sites

Special precautions and procedures are necessary for sites that are contaminated.  The relevant site specific safety plans produced by the specialist field advisor should be followed

## 15.4 Placement & Work Overseas

If students are to carry out Placement as part of their course / programme of study it is the responsibility of the Placement Co-ordinator / supervisor to ensure that adequate risk assessments and checks have been made well in advance of the placement.

A post placement review should be a follow up action. The School recommends that relevant guidance documentation and good practice is adhered to.

FIELDWORK SAFETY

## 16.1 Definition of Fieldwork

Fieldwork is defined as any work carried out by staff or students of the School for the purpose of teaching or research off the QUB campus.  This activity takes place in areas which are not under university control, but where the University has a responsibility for its staff and students, including others who may be exposed to their activities.

## 16.2 Field Safety Awareness

Staff and students who wish to participate in any School or University-related fieldwork activity must read this guidance and complete a risk assessment. This booklet provides comprehensive guidelines on the following:

- Preparation for Fieldwork

- Clothing and Equipment

- General Fieldwork Safety Procedures in the field

- Safety Procedures for some Specific Field Environments

- Rudimentary First Aid

- Emergency Survival

- Health Hazards

## 16.3 Risk Assessments for Fieldwork

As stated previously, all staff and students of the School must complete a Risk Assessment before the commencement of fieldwork (Appendix 4). Support in preparing and completing a fieldwork risk assessment is available from project supervisors and the Health & Safety Coordinator, who must receive a copy, approve after editing and have the final (signed) copy lodged with them ahead of the work commencing.

In specific cases, advice may be sought from the University Safety Services.

## 16.4 Health Declaration and Medical Questionnaires

All students and research staff participating in field courses are responsible for notifying 	teaching staff / line managers if they have any medical conditions that might affect their 	ability to fully participate in all aspects of the planned field activities. This must be 	undertaken at least 3 weeks in advance of a planned field course.

At Level 1 or during the Postgraduate and New Staff Health and Safety Induction sessions, 	all students and staff undertaking fieldwork must be briefed in procedures.

Students participating in residential field classes, must, in addition, complete a Medical Questionnaire at the time of course registration along with a detailed, course-specific Risk Assessment. If necessary, students whose participation in field courses may need to be modified due to health-related concerns, must also complete a ‘tailored’ risk assessment 	with the support of the Module Co-ordinator, the School’s Safety Officer and, if necessary, Safety Services/QUB Occupational Health.

This must be completed well in advance of the field course and reviewed regularly during the course.

## 16.5 Field Safety for Students with Disabilities

In accordance with University Policy, the School will try and maximise participation of Students with Disabilities in fieldwork activities. Risk Assessments for Students with Disabilities should be carried out in consultation with the student and if necessary, with the School’s Disabilities Officers and QUB Disability Services.

A safe and manageable set of working procedures, tailored to the student’s needs should be developed covering all activities to be undertaken.  These should include contingency plans if the student is unable to cope with some of the identified activities.

SAFE USE OF DISPLAY SCREEN EQUIPMENT (DSE)

17.1 Introduction

The University recognises that the majority of staff will use DSE whilst at work and is committed to minimising the risks arising from DSE use. The University will provide suitable equipment, workstations, free eyesight tests and if required corrective glasses for DSE users.

The use of display screen equipment for many staff and students forms an integral part of their day to day work activities or studies.

The Management of Health & Safety at Work Regulations (NI 2000) requires the University to assess significant risks to the health and safety of its employees and others affected by its activities.  Moreover a specific risk assessment in relation to Display Screen Work is required by the Health & Safety (Display Screen Equipment) Regulations 1992 (as amended 2002). As such, please consult the guidance that is available on-line at: https://qubstudentcloud.sharepoint.com/:w:/r/sites/bus-risk-register/_layouts/15/Doc.aspx?sourcedoc=%7B64B014FA-3014-496B-99EE-746D4779CEA5%7D&file=Display%20Screen%20Equipment%20(DSE)%20Policy.doc&action=default&mobileredirect=true

and complete the mandatory “Health and Safety for Computer Users” course found on QOL. If you require assistance, please contact one of the School’s Display Screen Assessors.

In addition, the risk assessment must take consideration of the requirements of the Provision and Use of Work Equipment and the Workplace (Health Safety and Welfare) Regulations.

Problems may arise from the intensive use of display screen equipment for a prolonged time. Bad posture, for example, can lead to upper limb disorders as well as to lesser problems of lower back ache, muscle fatigue etc. Other factors may lead to eyestrain. Low humidity may lead to soreness of the eyes, yet other factors may lead to stress, e.g. unfavourable environmental factors and poor task planning. No matter how good your typing skills (or lack of them), you can suffer serious ill effects if you use display screen equipment without taking a few sensible precautions.

By making full use of the equipment provided, and adjusting it to get the best from it, you will help avoid potential health problems.

Detailed advice on DSE can be found at:

https://www.qub.ac.uk/directorates/EstatesDirectorate/UniversitySafetyService/HealthandSafetyPoliciesandGuidance/PoliciesandProceduresLibrary/ComputerWorkstations/

The School has a number of appointed DSE assessors:

- Roslyn Barnes (r.barnes@qub.ac.uk), DKB

- Peter McCready (p.mccready@qub.ac.uk, Elmwood Zone)

General tips on DSE are below:

Getting Comfortable:

- Adjust your chair and display screen to find the most comfortable positions for your work.

- As a broad guide you should adjust your chair seat height so that your forearms are approximately level when using the keyboard.  Your eyes should be at approximately the same height as the top of the display screen.

- Ensure that your lower back is well supported by adjusting the seat back height and/or angle.

- Make sure you have enough workspace to take whatever documents or other equipment you need.

- Try different positions of keyboard, screen and mouse to find the best arrangement for you.  A document holder may help you to avoid awkward neck and eye movements.

- Arrange your desk and display screen to avoid glare, or bright reflections on the screen.  This will be easiest if neither you nor the screen is directly facing windows or bright lights.  Adjust curtains or blinds to prevent unwanted light.

- Make sure there is space under your desk to move your legs freely.  Move any obstacles such as boxes or equipment.

- Avoid excess pressure from the edge of your seat on the backs of your legs and knees.  A footrest may be helpful, particularly for users of small stature.

Keyboard Use:

- Adjust your keyboard to get a good keying position. A space in front of the keyboard (8-10 cm from edge of desk) is sometimes helpful for resting the hands and wrists when not keying.

- Try to keep your wrists straight when keying. Keep a soft touch on the keys and don’t overstretch your fingers. Good keyboard technique is important.

Using a Mouse:

- Position the mouse within easy reach, so it can be used with the wrist straight (have the mouse far enough away from the edge of the desk so that the wrist is supported while you use it).

- Don’t grip the mouse too tightly and rest your fingers lightly on the buttons and do not press them hard.

Reading the Screen:

- Adjust the brightness and contrast controls on the screen to suit lighting conditions in the room.

- Make sure the screen surface is clean.

- When setting up software, choose options giving text that is large enough to read easily on your screen, when you are sitting in a normal, comfortable working position.  Select colours that are easy on the eye (avoid red text on a blue background, or vice-versa).

- Individual characters on the screen should be sharply focused and should not flicker or move.  If they do the DSE may need servicing or adjustment.

Posture and Breaks/Work Planning:

- Don’t sit in the same position for long periods.  Make sure you change your posture as often as practicable.  Some movement is desirable, but avoid repeated stretching to reach things you need. (If this happens a lot, rearrange your workstation.)

- Most jobs provide opportunities to take a break from the screen.  If there are no natural breaks, ensure that on-screen work is curtailed to 30-45 minute stints, punctuated with 5-10 minute breaks of an alternative activity away from the DSE.

- Organise your DSE work to minimise the effects of stress. If you feel you are suffering from stress due to your DSE work, discuss the problem with your Supervisor or Line Manager or the University Occupational Health Physician.

Further Information:

- Most departments will have a member of staff who has been trained as a DSE assessor who will be able to offer you specific advice if you use a display screen on a regular basis.

- The University Safety Service will also provide advice and information upon request.

# EVENT MANAGEMENT

18.1 Health and Safety

As an Event Organiser, you are responsible for ensuring, as far as is reasonably practicable, the health, safety and welfare of all staff, students and visitors during your events. The University’s Events Safety Policy at the link below:

https://www.google.co.uk/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwj5m8argq_9AhXZgf0HHV2DBS8QFnoECAYQAQ&url=https%3A%2F%2Fwww.qub.ac.uk%2Fhome%2Fmedia%2FMedia%2C1088965%2Csmxx.docx&usg=AOvVaw0P7w2S2bp0CR59i5eXErit

Details all of the steps that you must take to ensure appropriate Health and Safety precautions are taken throughout your event. The points below are intended to offer only a brief summary – please ensure that you refer to the full Policy in advance of your event to familiarise yourself with all of your responsibilities.

18.2 Risk Assessments

It is essential that a suitable risk assessment detailing the arrangements for reasonably foreseeable risk is created for your event. Your risk assessment should include contingencies to deal with incidents and situations as varied as contractors cancelling at short notice, severe weather, or the unavailability of key staff in your team. You will also need to consider the response to more serious emergencies, including major incidents that will require help from the emergency services and implementation of their emergency plans. Example of Risk assessment for Event for children is provided in Appendix 6.

You should ensure appropriate management systems are in place for each phase of the event to make sure health and safety risks are controlled. While the numbers onsite during the ‘public’ period will be significantly greater, the need for safety management during build up, load-in, breakdown and load-out is just as important as this is likely to be when the highest-risk work activities are carried out.

Information to help with the creation of your event risk assessment can be found on Appendix 2 of the University's Events Safety Policy at the link below:

https://www.google.co.uk/url?sa=t&rct=j&q=&esrc=s&source=web&cd=&cad=rja&uact=8&ved=2ahUKEwj5m8argq_9AhXZgf0HHV2DBS8QFnoECAYQAQ&url=https%3A%2F%2Fwww.qub.ac.uk%2Fhome%2Fmedia%2FMedia%2C1088965%2Csmxx.docx&usg=AOvVaw0P7w2S2bp0CR59i5eXErit

A sample risk assessment is provided in Appendix 4.

All external contractors must compile separate risk assessments for their work, a method statement for the installation of any temporary structures and make available a copy of their third-party liability insurance.

For further help and advice with risk assessments, please contact the Events and Conferencing Team or speak to your local area safety coordinator.

18.3 General Health and Safety Considerations

When planning your event, the following aspects of Health and Safety may need to be considered, depending on the size and scale of your event:

- • Fire Safety precautions

- • Health and Safety announcements

- • General Security, including crowd control, exclusion of unwanted visitors and dealing with drink/drugs/illegal substances

- • Parking and traffic issues

- • Sound and noise

- • Erection of temporary structures

- • Methods of communication between team members in an emergency

Refer to the Events Safety Policy for more information.

18.4 First Aid

The level of First Aid provision you will need at your event will depend on the numbers attending, the profile of the audience and the type of event. This should be detailed in the Risk Assessment for your event. For smaller events, it may be sufficient to ensure some of the staff working at the event are trained in first aid but for larger events, it may be necessary to book First Aid provision from a recognised provider. A number of voluntary organisations will provide cover for a fee.

If an accident occurs during an event, you should take full details at the time of the incident, including the name and address of the injured person, the nature of the accident and where the accident occurred. Details of the incident should be recorded on the University's Incident Recording Information System (IRIS) and assigned to the relevant Incident Investigator for further processing as required.

18.5 Children/Vulnerable adults

If your event is likely to be attended by children and/or vulnerable adults, it is important that you give consideration to the University’s safeguarding arrangements. Please refer to the Safeguarding Children and Vulnerable Adults Policy or contact the Legal Services Unit, Ext.5002 or email for any assistance implementing the policy.

BREACHES OF HEALTH AND SAFETY REGULATIONS

## 19.1 General

The laboratory/studio/workshop managers will keep a logbook documenting all health and safety breaches from the less important (neglecting to wear safety spectacles conducting low risk activities) to the more severe (neglecting to label hazardous waste).  Researchers who persistently breach safety regulations will be subject to the following disciplinary measures.

Verbal Warning

Depending on the nature of the breach verbal warnings will differ in number before proceeding to the next level of correction.

Written warning

Only one written warning will be issued to correct the breach of safety protocols.  If the breach is not remedied within a specific time frame agreed by the supervisor, his/her researcher and the laboratory manager then Stage 3 may be invoked:

Exclusion

Workers will be excluded from the laboratory for a time period set by the supervisor and the laboratory manager.  The perpetrator will only be readmitted when the conditions for invoking Stage 2 have been rectified.

Responsibility for issuing warnings falls on the academic supervisor although their inclusion here does preclude them from being part of the disciplinary process.

Responsibilities

The University and School conduct an annual health and safety audit, covering all aspects of general safety, fire, chemicals, fieldwork, lone working (laboratories, studios, stores) as well as, specifically:

Out of office safety; Lone Working; Chemicals; Ionising radiation; lasers; biological hazards/materials. If ANY of the above listed or in this document apply to you, your staff/students, then please request a copy of the relevant part of the audit in order to familiarise yourself with procedures and management thereof.

# APPENDIX 1 SNBE SAFETY GOVERNANCE AND COMMITTEEE MEMBERSHIP

Governance

# SNBE Safety Committee Membership

School Health and Safety Coordinator/Safety Officer (Chair)

SNBE Technical Manager & Fire Officer

School Manager

Union Representative

Building Liaison Officers

Other Specialist Advisors (as required).

# APPENDIX 2

# SNBE FIRE WARDENS and SWEEP AREAS

# David Keir Building

## Fire Officer: Rahul Madathilath (In training)

REAR of DKB reporting via TBA

| DKB SPACE 1 0B001,0B.005 -021 301 -304 | Jaime Laing | j.laing@qub.ac.uk |
| --- | --- | --- |
| DKB SPACE 2 0B.305 -0B.311, 0B013 | Dessie Hill | d.hill@qub.ac.uk |
| DKB SPACE 3 LG.301 – 310, LG.319, LG.322 | Dessie Hill | d.hill@qub.ac.uk |
| DKB SPACE 4 LG.021 – LG.051 | Fra McBride | f.mcbride@qub.ac.uk |
| FRONT of DKB reporting via Rahul Madathilath |  |  |
| DKB SPACE 7 0G.017, 0G.021 – 0G.036 | Chris Farnan | c.farnan@qub.ac.uk |
| DKB SPACE 8 01.010 – 01.020 | Melanie Brehaut | m.brehaut@qub.ac.uk |
| DKB SPACE 9 01.026 – 01.041 | Ryan Carlin | r.carlin@qub.ac.uk |
| DKB SPACE 10 02.001 – 02.017, 02.015 (lab) | Geoff Davis | g.davis@qub.ac.uk |
| DKB SPACE 11 03.034 – 03.035 | Dr. P. Boland | p.boland@qub.ac.uk |
| DKB SPACE 12 03.001 – 03.021 | Dr. P. Boland | p.boland@qub.ac.uk |

# 42 Fitzwilliam Street

## Fire Officer: Kerry Allen

Dr. Dirk Brandherm (Top floor)

Dr. Paddy Gleeson (First floor)

Prof. Eileen Murphy (Ground floor)

Kerry Allen (Basement and AMS lab)

Niamh O’Neill-Munro (Radiocarbon Lab)

# Elmwood

## Fire Officer: Jim Sloan

Dr. Alastair Ruffell (Second floor)

Dr. Stephen McIlwaine (First floor)

Conor Graham (First Floor)

Davog Devenney (First Floor)

Caoilfhionn Carville (Ground floor)

# APPENDIX 3 LIST OF FIRST AIDERS

| David Keir |  |  |  |  |  |  |  | Expiry Date |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Barnes |  | Roslyn | Rm: 01.013 David Keir Building |  | 4214 |  | 16/10/2025 |  | 15/10/2028 |  |
| Brashier |  | John |  |  |  |  | 07/07/2023 |  | 06/07/2026 |  |
| Brehaut |  | Melanie | Rm: 01.017 David Keir Building |  | 4006 |  |  |  | 25/03/2027 |  |
| Farkas |  | Julia | Rm: 01.012 David Keir Building |  | 4001 |  | 21/01/2025 |  | 21/01/2028 |  |
| Farnan |  | Chris | Rm: 0G.035 David Keir Building |  | 4521 |  | 18/07/2024 |  | 18/07/2027 |  |
| Flynn |  | Raymond | Rm: 02.028 David Keir Building |  | 4044 |  | 09/04/2024 |  | 08/04/2027 |  |
| Galway |  | Neil | Rm: 03.013 David Keir Building |  | 4835 |  |  |  | 02/09/2027 |  |
| Hill |  | Desmond | Rm: LG.037 David Keir Building |  | 6949 |  | 19/02/2024 |  | 19/02/2027 |  |
| McBride |  | Fra | Rm: LG.051 David Keir Building |  | 4368 |  | 18/09/2025 |  | 17/09/2028 |  |
| Pour |  | Zohreh Adibi |  |  |  |  | 07/03/2025 |  | 07/03/2028 |  |
| Elmwood |  |  |  |  |  |  |  |  |  |
| Majury |  | Niall | Rm: 02.022 Geography Building |  | 3367 |  | 29/03/2023 |  | 28/03/2026 |  |
| Miller |  | Julie | Rm: 01.027 Geography Building |  | 2039 |  | 01/06/2024 |  | 01/06/2027 |  |
| Kahlert |  | Thorsten | Rm: 01.02 Geography Building |  | 3399 |  | 28/09/2022 |  | 27/09/2025 |  |
| Ruffell |  | Alastair | Rm: 02.016 Geography Building |  | 3407 |  | 23/11/2022 |  | 22/11/2025 |  |
| Sloan |  | Jim | Rm: 0G.038 Geography Building |  |  |  |  |  | 25/10/2027 |  |
| Fitzwilliam |  |  |  |  |  |  |  |  |  |
| Donnelly |  | Colm | Rm: 01.057 42 Fitzwilliam Street |  | 3845 |  | 20/05/2024 |  | 19/05/2027 |  |
| Montgomery |  | Heather | Rm: 01.058 42 Fitzwilliam Street |  |  |  |  |  | 23/05/2027 |  |
| Montgomery |  | Ryan | Rm: 01.036 42 Fitzwilliam Street |  | - |  | 07/03/2024 |  | 06/02/2027 |  |
| Murphy |  | Eileen | Rm: 0G.053 42 Fitzwilliam Street |  | 3979 |  | 20/05/2024 |  | 19/05/2027 |  |
| O'Baoill |  | Ruairi | Rm: 01.056 42 Fitzwilliam Street |  | 3727 |  |  |  | 11/06/2027 |  |
| Sloan |  | Brian | Rm: 01.056 42 Fitzwilliam Street |  | 3728 |  |  |  | 20/03/2027 |  |
| O'Neill-Munro |  | Niamh | Rm: 0G.003 42 Fitzwilliam Street |  | 3974 |  | 20/10/2023 |  | 19/10/2026 |  |
| Plunkett |  | Gill | Rm: 01.034 42 Fitzwilliam Street |  | 3184 |  | 10/04/2024 |  | 10/04/2027 |  |
| Quinn |  | Shamia | Rm: 0G.003 42 Fitzwilliam Street |  | 3974 |  | 20/10/2023 |  | 19/10/2026 |  |
| Thompson |  | Michelle | Rm: 0G.012 42 Fitzwilliam Street |  | 3104 |  | 30/05/2024 |  | 30/05/2027 |  |
| Portaferry |  |  |  |  |  |  |  |  |  |
| Baghanian |  | Saeideh |  |  |  |  | 07/03/2024 |  | 07/03/2027 |  |

# APPENDIX 4 RISK ASSESSMENT FORM (INCLUDING COSHH FORM)

| School/Department/Unit: | Work activity: |  |
| --- | --- | --- |
| Assessment completed by: | Date completed: | Review Period: |

| Activity (task step) | Hazards | Who might be harmed | Existing Control Measures (What are you already doing?) | Severity (1-4) | Likelihood (1-4) | Risk Level (L,M,H, VH) | What further action is necessary | Final risk rating | Action by whom & by when |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

Put the date the assessment was completed and put in a review date, normally annually unless the task, person or equipment changes

The task or activity i.e. mowing the lawn

| School/Department/Unit: Estates Gardening | Task/Work activity: Mowing lawn |  |
| --- | --- | --- |
| Assessment completed by: A. N. Other | Date completed: 20-May 2011 | Review Period: 1 Year |

| Activity (task step) | Hazards | Who might be harmed | Existing Control Measures (What are you already doing?) | Severity (1-4) | Likelihood (1-4) | Risk Level (L,M,H, VH) | What further action is necessary | Final risk rating | Action by whom & by when |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Filling the mower with petrol | Fire, explosion | Operator and others in vicinity during filling with fuel | Fuel stored in appropriate labelled container. Petrol filling undertaken outside in open area away from sources of ignition. Pre-use checks for leaks. | 3 | 1 | M | Warning notice to be displayed in workshop. Operator to be provided with filling funnel to avoid spills. | L | A.N. Other Supervisor 20-05-11 |

Identify who may be harmed i.e. staff, students and or general public

Identify any steps in the task i.e. filling the lawn mower with petrol

Calculate risk rating: Probability multiplied by severity i.e. 3 (Probability) x 1 (Severity) = 3 Medium

Identify hazards or injury causes

A risk matrix is a tool used in the risk assessment process; it allows the severity of the risk and probability of the event happening to be determined, by multiplying the two outcomes.

In layman’s terms – How likely is it to happen and how bad it would be if it happened.

If a number of people were likely to be exposed to a hazard then this would need to be taken into consideration.

The traffic light colour scheme gives a clear indication of whether or not the classification is high, medium or low.

| Severity | Probability |  |  |  |  | Risk Rating |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | Unlikely | Possible | Likely | Very Likely |  | Score | Risk Level |
| Very Minor | 1 | 2 | 3 | 4 |  | 1-2 | Low |
| Minor | 2 | 4 | 6 | 8 |  | 3-6 | Medium |
| Significant | 3 | 6 | 9 | 12 |  | 8-9 | High |
| Major | 4 | 8 | 12 | 16 |  | 12-16 | Very High |

For scores of 8 or more (high), further action must be taken to reduce the risk.

If further advice is required contact the Safety Service.

COSHH Risk Assessment Form

A COSHH risk assessment must be conducted before you commence work which could expose you to substances hazardous to health.

Section 1: Project Details

| Title of project or activity |  |
| --- | --- |
| Location of work (building and room number) |  |
| Principal Investigator / Researcher /Supervisor |  |
| Brief description of work activity |  |

Section 2: Hazard Summary Section

| Hazard pictograms – select all that apply to the work activity |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Health Hazard | Toxic | Corrosive | Irritant | Flammable | Oxidising | Explosive | Compressed Gas | Dangerous for the environment |

Section 3: Risk Assessment

List all the substances you are going to use in the cleaning process you are assessing. All the information required to populate the table below can be found on the manufacturer’s safety data sheet.

If none of the substances to be used are hazardous to health, the risk assessment is complete at this stage and should be signed off.

| Name of substance | Properties | Physical form | Quantity and Concentration | Frequency of Use | Potential route of exposure | WEL (mg/m3) or (ppm) |
| --- | --- | --- | --- | --- | --- | --- |
| All carcinogens and users of carcinogens should be notified to the University Safety Service |  |  |  |  |  |  |

Hazards produced during / after reaction / experiment

List all the substances you are going to produce in the process / procedure / experiment / reaction you are assessing.

| Name of substance | Properties | Physical form | Quantity and Concentration | Potential route of exposure | WEL (mg/m3) or (ppm) |
| --- | --- | --- | --- | --- | --- |

| Who might be at risk? | Staff | Postgrads | Undergrads | New and expectant mothers | Cleaners | Contractors | Public |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  | ü |  |  |  |  |  |  |

| Assessment of risk PRIOR to the use of controls | Severity (1-5) | Likelihood (1-4) | Overall Risk Rating (Severity x Likelihood) |
| --- | --- | --- | --- |

Risk matrix can be found in Note 1

Section 4: Controls

If exposure cannot be prevented, consider the most effective precautionary measures needed to adequately control exposure which are proportionate to the risk.

| Specify for each substance identified in Section 3 |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Physical or Engineering controls Fume hoods, biological safety cabinets, guards |  |  |  |  |  |  |  |
| Administrative controls Training requirements, access control, signage |  |  |  |  |  |  |  |
| Out of hours controls |  |  |  |  |  |  |  |
| Personal Protective Equipment |  |  |  |  |  |  |  |
|  | Lab Coat | Apron | Safety Footwear | Gloves* | Face Shield | Glasses / Goggles | RPE** |
|  | *If protective gloves are required, please indicate which type is the most suitable for the substance handled. **A person requiring RPE must be ‘face-fit tested’ to the RPE (Further advice on the selection of suitable RPE and face-fit testing is available from the Occupational Health and Safety Service). |  |  |  |  |  |  |
| Storage requirements |  |  |  |  |  |  |  |
| Disposal procedures (See Note 2) |  |  |  |  |  |  |  |

|  | Yes | No | Describe the findings of exposure monitoring or health surveillance |
| --- | --- | --- | --- |
| Is exposure monitoring required? (See Note 3) |  |  |  |
| Is health surveillance required?*(See Note 4) |  |  |  |

*If yes, please state date of referral to Occupational Health: __________________________

| Assessment of risk AFTER the application of controls | Severity (1-5) | Likelihood (1-4) | Overall Risk Rating (Severity x Likelihood) |
| --- | --- | --- | --- |

Section 5: Emergency Procedures

The purpose of this section is to provide easy access to emergency information for First Aid, Spillage and Fire.

| First Aid |  |
| --- | --- |
| If inhaled: |  |
| In case of skin contact: |  |
| In case of eye contact: |  |
| If swallowed: |  |
| Contact in the event of a first aid emergency: |  |

| Spillage |  |
| --- | --- |
| Personal precautions, protective equipment and emergency procedures: |  |
| Environmental precautions: |  |
| Methods and materials for containment and clean up: |  |
| Contact in the event of a spillage: |  |

| Fire |  |
| --- | --- |
| Suitable extinguishing media: |  |
| Special hazards arising from the substances or mixture: |  |
| Contact in the event of a fire: |  |

Section 6: Approval

| I confirm that this is a suitable and sufficient risk assessment for the above described work activity | Name | Signature | Date |
| --- | --- | --- | --- |
| Assessor |  |  |  |
| Principal Investigator / Supervisor |  |  |  |
| COSHH Supervisor |  |  |  |

This assessment should be reviewed at regular intervals and immediately if there is reason to suspect that it is no longer valid (for example after any accidents or incidents) or if there is a significant change in the work to which it relates.

Section 7: Review

| Review date | Reviewed by | Record of Amendments | Review due |
| --- | --- | --- | --- |

Note 1: Risk Matrix

|  | Risk Likelihood |  |  |  |
| --- | --- | --- | --- | --- |
| Hazard Severity |  | Unlikely (1) | Possible (2) | Likely (3) | Very Likely (4) |
| Minor (1) |  | 1 | 2 | 3 | 4 |
| Moderate (2) |  | 2 | 4 | 6 | 8 |
| Serious (3) |  | 3 | 6 | 9 | 12 |
| Very Serious (4) |  | 4 | 8 | 12 | 16 |
| Extreme (5) |  | 5 | 10 | 15 | 20 |

|  | Risk Rating |
| --- | --- |
| Low | (1-4) |
| Medium | (6) |
| High | (8-9) |
| Very High | (12-20) |

Note 2 – Procedures for disposing of hazardous substances

Water miscible solvents and other substances may be flushed to drain but only in very small quantities (<100ml at one disposal).

Small quantities of vapours / gases / aerosols may be discharged into a fume cupboard for aerial dispersion. Similarly, small quantities of volatile liquids may be allowed to evaporate to atmosphere within a fume cupboard.

In general, most substances hazardous to health will be accumulated in suitable containers and stored in a safe location pending disposal by arrangements with the Occupational Health and Safety Service.

Note 3 – Exposure Monitoring

Exposure monitoring provides assurance on the adequacy of your controls. It has nothing to do with the state of a workers health.

Note 4 – Health Surveillance

Health surveillance is appropriate when the work involves the use of substances known to cause occupational asthma or severe dermatitis or if there is contact with chrome solution, electrolytes containing chromic acid or chromium salts and other substances which can cause skin cancer. It is also appropriate where employees are exposed to carcinogenic and mutagenic substances, unless the risk assessment confirms that exposure is so adequately controlled that there is no reasonable likelihood of an identifiable disease or adverse effect resulting from the exposure or the quantities used are so small that even if control measures fail, the exposure is likely to be insignificant.

APPENDIX 5 List of Coordinators, Laboratories and Workshops Managers

CAF (Centre for Community Archaeology) - First Floor, Fitzwilliam Site.

Dr C. Donnelly

Civil Eng Placement Coordinator: Prof. Wei Sha

Fieldwork Coordinator: 		 Dr. Alastair Ruffell

Events Coordinator: 		 Julia Farkas

First Aid Coordinator: 	Dr. Neil Ogle

DSE Coordinator: 	Roslyn Barnes

ELMWOOD SITE                                                     Staff Lead

Analytical (Biogeography) Laboratory	Prof. Graeme Swindles

Physical Laboratory 	Prof. Graeme Swindles

GeoArc lab	Prof. Graeme Swindles

Workshop 	Prof. Graeme Swindles

Thin Section Lab 	Dr. Sree Nanukuttan

CT Lab	Dr. Paddy Gleeson

Bone Laboratories (Basement)	Prof. E. Murphy

COSHH Supervisor	Jim Sloan

Radiation Protection Supervisor (RPS)	Jim Sloan

FITZWILLIAM SITE                                                 Staff Lead

Radiocarbon Laboratory 	Prof. Maarten Blaauw

AMS Laboratory (CHRONO)	Prof. Maarten Blaauw

Analytical Laboratory	Prof. Gill Plunkett

Pollen Laboratory & Preparation Lab.	Prof. Gill Plunkett

Human Bone/Osteoarchaeology Laboratories	Prof. E. Murphy

COSHH Supervisors	M. Thompson/N. O’Neill-Munro

Radiation Protection Supervisor (RPS)	Kerry Allen

| DAVID KEIR BUILDING | Staff Lead |  |  |
| --- | --- | --- | --- |
| Architecture Workshop | Chris Farnan |  |
| Wood Workshop | Jamie Laing |  |
| Electronic Workshop | Rahul Madathilath |  |  |
| Hydraulics/Environmental Teaching Lab | Dr. John McKinley |  |  |
| Soils Lab | Dr. Vasileios Angelidakis |  |  |
| Concrete Lab | Dr. Mohammed Sonebi |  |  |
| Heavy Structures Lab | Dr. Mohammed Sonebi |  |  |
| Hydraulics Lab | Dr. Carwyn Frost |  |  |
| Light Structures Teaching Lab | Dr Danny McPolin |  |  |
| Environm’l and Material Charact’n Lab | Dr. S. Nanukuttan |  |  |
| Stable Isotope Facility/GC Lab | Dr Rory Doherty |  |  |
| COSHH Supervisor | Dr. Neil Ogle |  |  |

| PORTAFERRY SITE | Staff Lead |
| --- | --- |
| Wave Tank Lab | Dr. Pal Schmitt |

APPENDIX 6 – Risk Assessment Examples

Example of Field Trip Risk Assessment

UG Field Trips to Egypt Dates: x to x 2023

Risk Assessment

A risk assessment must be completed prior to any fieldtrips which addresses any risks and outlines the control measures in place.

This involves trip organisers planning how all activities relating to the fieldtrip can be undertaken. Each fieldtrip risk assessment must be specific to local arrangements and accurately reflect activities being undertaken and the controls being implemented to minimise risk.

| Risk Rating |  |
| --- | --- |
| Score | Risk Level |
| 1-5 | Low |
| 6 | Medium |
| 8-10 | High |
| 12-20 | Very High |

Please use the following risk matrix.

| Severity |  | Probability |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Unlikely | Possible |  | Likely | Very Likely |  |  |
| Minor |  | 1 | 2 |  | 3 | 4 |  |  |
| Moderate |  | 2 | 4 |  | 6 | 8 |  |  |
| Serious |  | 3 | 6 |  | 9 | 12 |  |  |
| Very Serious |  | 4 | 8 |  | 12 | 16 |  |  |
| Extreme |  | 5 | 10 |  | 15 | 20 |  |  |
|  | School / Department / Unit: |  |  | SNBE |  |  |  |  |
|  | Assessment Completed By: |  |  |  |  |  |  |  |
|  | Date Completed: |  |  |  |  |  |  |  |
|  | Review Period: |  |  | Review conducted at daily “briefing” on trip every day. Formal review post trip. |  |  |  |  |
|  | Field Trip Description: |  |  | UG Field Trip to Egypt The trip involves UG students visiting Egypt and engaging with local planners, academics and practitioners, completing field work and self- led exploration over a week long programmed agenda. There will be x UG students on each trip and the trips will be led by x staff members and x PhD students. |  |  |  |  |

All students and staff will be staying in university approved and booked accommodation. All travel bookings have been made through Selective Travel, therefore will be covered for emergency travel arrangements. All staff and students are travelling as part of the study programme, therefore are covered on the trip by university insurance.

.

Key: Se – Severity (1-5) Li – Likelihood (1-4)

R – Risk (L, M, H, VH)

FR – Final Risk

| Risk Area | Existing Control Measures | Se | Li | R | What further action is necessary | Se | Li | FR | Action by whom &when |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Transport arrangemen ts | - Students will be advised of travel arrangements to arrive in Egypt by plane. All travel arrangements will be booked through Selective Travel. - Emergency travel arrangements and travel disruptions will be covered through Selective Travel. - When in Egypt, day trips to locations will be completed using public transportation. QUB staff will accompany students to each location and supervise their work and activities. | 3 | 2 | M |  | 3 | 2 | M |  |

| Accommod ation | - All accommodation booked through Selective Travel ensuring a suitable level of fire safety controls. - Staff to stay in private rooms. - Students to stay in hostel type accommodation booked by the university. Selective Travel to be requested to ensure QUB students only in rooms, where practicable. - Students who prefer to stay in private hotel rooms will be permitted to do so if they provide details of their accommodation to trip organisers for logistical purposes. | 3 | 2 | M | Participants advised of options for accommodatio n. | 3 | 2 | M |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

| Programme d activities | - During the trip, students will have programmed itineraries for 5 days. - Walking tours will be facilitated by trip organisers who are familiar with the locations. - Students will be accompanied and supervised by organising staff at all times during the day. - Student Code of Conduct will be provided to all students including social downtime. Breaches of acceptable behaviours will be investigated by organising staff and dealt with appropriately. | 3 | 2 | M | Participants will be briefed on the entirety of the trip itinerary and all activities before commencing on the field trip. | 3 | 2 | M |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Concerns/a nxiety associated with mental health. | - High level of engagement, information and consultation by trip organisers with student cohort prior to travel. - Attendance on field trip is on a voluntary basis. Alternative assignments can be offered to those who do not wish to participate. | 3 | 2 | M | One-to-one opportunities to discuss concerns with trip organisers will be available. Support and advice from Disability Services where required. | 2 | 2 | L |  |

| Communica tion Arrangemen ts | - All participants will have the mobile phone number for trip organisers. - When completing field work in groups, students should travel in pairs and be in regular contact with the staff member responsible for the exercise. | 3 | 2 | M | All participants to receive contact numbers and group chats to be set up to allow for ease of communicatio ns for the study. | 3 | 2 | M |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Equipment | - Participants will bring their own personal equipment for use on the field trip (e.g. pen, paper, camera, mobile device). | 2 | 1 | L |  | 2 | 1 | L |  |

| First Aid | - Staff / PhD students trained in First Aid accompanying the trip will be : - Stocked First Aid Kits will be brought on the trip for use. - Participants will be advised of how to contact Emergency Services in their location. - Emergency medical assistance can be sought locally by phoning x. - The nearest hospitals are: | 3 | 2 | M |  | 3 | 2 | M |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Environmen tal issues | - Students advised on the need to protect themselves from heat and sun burn. - All participants to use a hat, suncream and have always drinking water with them. - Insect repellent to be used. - Local pharmacies available for over- the-counter medication. | 2 | 3 | M | Students and staff suffering from effects of the heat to be brought inside out of the heat to reduce core body temperature. | 2 | 3 | M |  |

| Personal safety | - Students advised to be aware of their personal safety and avoid going out at night alone. Students to socialise during downtime with their friends/fellow students and use public transport in groups. - Mobile phones to be used for contact via WhatsApp Groups or directly with trip staff. - Students to retain information on location of their accommodation in case they get lost / lose contact with their friend group. | 3 | 3 | H | Information on safety of local areas to be provided when on trip. | 3 | 2 | M |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |

## Example of Risk Assessment for Field Work

Prepared by: Date:

Queen’s University Belfast

| Author | Revision | Date | Reviewed by |
| --- | --- | --- | --- |

| Name of Project | SAPHIRE |  | Division | SNBE |
| --- | --- | --- | --- | --- |
| Name |  |  |  |  |
| Project Ref No |  |  |  |  |

- Project Description

Sensor Application to Peatland Hydrology in Remote Environments is a tripartite research project between collaborators from Queen’s University Belfast (QUB), University of Galway (UoG) and Ohio State University (OSU). This risk assessment covers a joint field campaign to Letterunshin, County Sligo, to conduct surface and groundwater sampling and installation of hydraulic flumes in a stream, within a peatland setting. A copy of this plan must be carried by QUB researchers when carrying out work on site.

Site Setting

The Letterunshin Blanket Bog Hydrological Research Catchment is located in Letterunshin, Tireragh, County Sligo, Ireland (54° 10' 39" N, 8° 54' 3" W). The location is shown in Figure 1 below, along with main access routes.

Figure 1: Location of the Letterunshin Blanket Bog Hydrological Research Catchment (Google Maps).

The entirety of the fieldwork comprised in this project will occur within area indicated in Figure 2. The National Parks and Wildlife Service (owner of the property) has granted permission for the field work to be undertaken in the SAC, and verbal consent has been provided by the landowner on the adjacent formerly afforested property to implement works. Furthermore, prior to fieldwork being undertaken, the regional NPWS officer will be notified. Table 1 lists the grid references and Latitude, Longitudes of the locations indicated in Figure 2.

Figure 2: Aerial image showing the predominant locations that team members will be operating and navigating between (Google Earth Pro).

Table 1. Grid references and Latitude, Longitude of project sample locations, indicated in Figure 2.

| Description | Grid Reference | Latitude (N) | Longitude (W) |
| --- | --- | --- | --- |

| Flow 1 | G 40591 26573 | 54° 11 ' 5.29" | 8° 54 ' 39.05" |
| --- | --- | --- | --- |
| Flow 2 | G 39995 26663 | 54° 11 ' 7.95" | 8° 55 ' 11.98" |
| Flow 3 | G 39921 26983 | 54° 11 ' 18.27" | 8° 55 ' 16.29" |
| Flow 4 | G 40234 27383 | 54° 11 ' 31.34" | 8° 54 ' 59.31" |
| DEG | G 40234 27400 | 54° 11 ' 31.89" | 8° 54 ' 59.32" |
| ODF | G 39929 26580 | 54° 11 ' 5.24" | 8° 55 ' 15.56" |
| ODCC | G 39961 26785 | 54° 11 ' 11.88" | 8° 55 ' 13.94" |
| LA | G 40126 26285 | 54° 10 ' 55.78" | 8° 55 ' 4.48" |
| LB | G 40121 26545 | 54° 11 ' 4.19" | 8° 55 ' 4.94" |
| LC | G 40206 26744 | 54° 11 ' 10.66" | 8° 55 ' 0.40" |
| LD | G 40534 26384 | 54° 10 ' 59.15" | 8° 54 ' 42.06" |
| LE | G 40913 26505 | 54° 11 ' 3.22" | 8° 54 ' 21.24" |
| LF | G 40939 26636 | 54° 11 ' 7.47" | 8° 54 ' 19.90" |
| LG | G 41051 26673 | 54° 11 ' 8.71" | 8° 54 ' 13.75" |
| DEG3 | G 40299 27029 | 54° 11 ' 19.91" | 8° 54 ' 55.47" |
| F2 | G 40215 27394 | 54° 11 ' 31.69" | 8° 55 ' 0.37" |
| F3 | G 40219 27377 | 54° 11 ' 31.14" | 8° 55 ' 0.14" |
| CC | G 40384 27001 | 54° 11 ' 19.05" | 8° 54 ' 50.77" |
| FOR6 | G 40181 27365 | 54° 11 ' 30.73" | 8° 55 ' 2.22" |
| Access 1 | G 39618 26435 | 54° 11 ' 0.42" | 8° 55 ' 32.59" |
| Access 2 | G 40014 27148 | 54° 11 ' 23.64" | 8° 55 ' 11.27" |

- Health & Safety Plan

Table 2

Project activities

| Activities |  | Sampling |  |
| --- | --- | --- | --- |
| Site Visit | Y | Ground water | Y |
| Installation of hydraulic flumes | Y | Surface water | Y |

Table 2

Key contacts

| Function: | Co-ordinator |
| --- | --- |
| Organisation: | Queen’s University Belfast |
| Address: | David Kier Building, Stranmillis Road, Belfast BT9 5AG |
| Tel No: |  |
| Email: |  |
| Contacts |  |

Purpose of the Health and Safety Plan

The purpose of this project-specific Risk Assessment (RA) is to establish and control health and safety requirements for this visit. This RA should be read in conjunction with the Queen’s University of Belfast Health & Safety Policy and Procedures Manual (a copy of which is available online at www.qub.ac.uk/space) and the Contractors’ own Health & Safety Policy Manual.

This project-specific Risk Assessment (RA) seeks to convey information provided by the University and other persons associated with the project to all staff concerned. The focus of this document is to highlight known major hazards, which may be present during the visit undertaken. All reasonable care has been taken to identify the risks present, but the absence of a reference to a specific hazard should not be taken as a warranty that such a hazard is not present or cannot and will not arise during the works. Whist this RA has been written for the benefit of all participants, Queen’s University Belfast cannot hold responsibility for personnel from collaborative institutions, and therefore, University of Galway and Ohio State university are advised to produce separate RAs in accordance with their respective institution’s guidance.

- Risk Assessment

Risk Assessment. The system below was used to assess the risk, if all the actions listed in table 3 and 4 are taken.

| (a) Consequences | First aid treatment | 3 |
| --- | --- | --- |
| (Hazard Severity) | Lost time, injury Permanent disablement | 6 10 |
|  | Fatality | 15 |
| (b) Probability of harm | Almost unheard of or unimaginable | 4 |
| (likelihood) | Not uncommon type of accident | 8 |
|  | Quite likely to happen | 15 |

Risk Rating = (a) x (b)

| ≤15 → D | 16-69 → C | 70-119 → B | ≥120 → A |
| --- | --- | --- | --- |

Risk Category:

A – Not authorised

B – Authorised if carried out under supervision

C – Authorised after initial observation by supervisor

D – Authorised

Preliminary risk assessment – water sampling and flume installation at Letterunshin

Table 3	Preliminary risk assessment

| ACTIVITY/HAZARD | APPLICABL E |  | RISK GRADING |  |  | CONTROL MEASURES |
| --- | --- | --- | --- | --- | --- | --- |
|  | Yes | No | Likeliho od | Hazard Severity | Risk Ratin g |  |
| PROJECT SPECIFIC WORKING HAZARDS |  |  |  |  |  |  |

| Is construction taking place? Risk of injury arising from use of: - Landscaping tools (spades, shovels, crow bars) - Hand tools (hacksaw, lump hammer, spanners, ratchet set) - Electric power tools (angle grinder, drill) - Petrol powered water pumps - Manual handling of 25kg sand, cement and clay bags, steelwork, fibreglass flumes, stokbord sheets - Mixing cement | x |  | 8 | 6 | 48 | - Use of PPE: safety glasses, appropriate footwear (personnel planning to traverse the bog in wellies should consider carrying alternative footwear for construction activities), gloves - Personnel should only use tools if they are competent in their use. If in doubt, defer to technical/experienced staff members - All electrical/mechanical tools to be used in accordance with manufacturer’s instructions - Petrol for pumps to be stored in a metal fuel container, clearly labelled with ‘PETROL’ and ‘HIGHLY FLAMMABLE’, remain closed when not actively in use, and kept away from any risk of spark/flame such as smoking and operation of electrical power tools - Manual handling techniques as taught through mandatory H&S training to be employed. If an item is too heavy, do not attempt to lift but seek assistance - Wear appropriate clothing and PPE to prevent direct skin contact with cement |
| --- | --- | --- | --- | --- | --- | --- |
| Is site security required? If yes define security. |  | x |  |  |  |  |

| Access to the site Risk of injury arising from: - Slips, trips and falls owing to ponded ground, vegetation tussocks and deforestation debris - Manual handling and carriage of sampling and test equipment - Falling into water bodies - Delays receiving help owing to unfamiliarity with the site and sampling locations | x |  | 8 | 6 | 48 | - Participants are to work and move around the site in groups of two or more - Participants’ phone numbers can be found in the Appendix to this document. A copy of the list is to be carried, or, numbers saved to personal mobile phones, to enable speedy communication between groups in the event of an emergency - ‘Walkie talkie’ radios will also be provided to each group - Awareness of the availability of a mobile phone signal, if possible, move to higher ground to improve phone reception and call for help - Ensure a knowledge of the sampling area. A laminated copy of the map at Figure 2, and grid references and coordinates at Table 1, will be provided to participants - If in doubt as to location and a good phone reception is present, consider use of apple/google maps or apps such as what3words to communicate your position - Participants should employ manual handling techniques (bent knees, straight back) when handling heavy equipment, and carry no more than they feel comfortably able to, taking multiple trips or working in larger groups if necessary - Time and care to be taken with foot placement when traversing the site, keeping hands free where practical, and restricting activities to daylight hours only |
| --- | --- | --- | --- | --- | --- | --- |

|  |  |  |  |  |  | - Time and care to be taken around edges of streams/ponds, remain aware of the possible presence of enclosed hollows (peat pipes), particularly in areas with patterned (ponded) ground and do not stand on unsteady ledges, |
| --- | --- | --- | --- | --- | --- | --- |
| Work in Traffic Zones |  | x |  |  |  |  |
| Slippery Surfaces | x |  | 8 | 6 | 48 | - Time and care to be taken with foot placement - Keep hands free where practical - Restrict movements to daylight hours |
| Open Excavations, Trial pits, Trenches and deep waters |  | x |  |  |  |  |
| Are Substances hazardous to health Present? CoSHH? - Petrol - Biological hazard (tetanus, leptospirosis, borreliosis) | x |  | 8 | 6 | 48 | - Wear nitrile gloves and protective clothing - Wash hands regularly and before consuming food - Cuts should be treated accordingly and dressed. |
| Exposure to Adverse weather conditions (Hypothermia, heat stroke, dehydration)? | x |  | 4 | 10 | 40 | - Consult weather forecast prior to going on site - Appropriate clothing for the predicted weather must be worn - Take regular breaks and eat/drink as required |

Activity Specific Risk Assessment

Table 4	Activity specific risk assessment

| OPERATION: |  |  |  |
| --- | --- | --- | --- |
| HAZARD (What could go wrong?) | HAZARD EFFECT (What will happen if things do go wrong?) | RISK | CONTROLS TO BE IMPLEMENTED (What measures should be used to make sure that the effect of the hazard or the likelihood of it occurring, are kept to an acceptable level?) |
| Access to site | Lost time - Injury | Medium Rated 48 – C | As outlined in Table 3 |
| Uneven Surfaces, Slips, Trips and Falls, Slippery surfaces | Lost time - Injury | Medium Rated 48 – C | As outlined in Table 3 |
| Substances hazardous to Health | Lost time - Injury | Medium Rated 48 – C | As outlined in Table 3 |
| Exposure to adverse weather conditions | Permanent Disablement | Medium Rated 40 – C | As outlined in Table 3 |

- Emergency Services

Table 5

Emergency services details

|  | Telephone Number | Emergency Number |
| --- | --- | --- |
| Police (Garda, Ballina) | 00353 96 20560 | 112 or 999 |
| Ambulance |  | 112 or 999 |
| Fire |  | 112 or 999 |
| Queen’s University Belfast | +44 (0) 28 9024 5133 Out of hours: +44 (0) 28 9097 5099 |  |

In case of an emergency first aid should be given if required and all accidents should be reported. The nearest accident and emergency units are located at Sligo University Hospital (see Figure 3 and Table 5 for map and contact details).

The nearest Accident and Emergency unit is located at:

Sligo University Hospital

The Mall, Rathquarter, Sligo, F91 H684, Ireland

Figure 3: Route to Sligo University Hospital (apple maps)

| Signed | Safety Officer | Date |
| --- | --- | --- |
| Signed | Supervisor | Date |

APPENDIX

Participating personnel

| Name | Job title | Phone contact |
| --- | --- | --- |
|  | Principle Investigator |  |
|  | Principle Investigator |  |
|  | PDRA |  |
|  | PDRA |  |
|  | Lab Manager |  |
|  | Technical staff |  |
|  | Technical staff |  |
|  | Technical staff |  |
|  | RA |  |
|  | PHD Student |  |

*Driving

Example of Event Risk Assessment with Visitors / Children

Supported by

- Creative Bridges

How Civil Engineers make design decisions

A series of one day workshop events hosted by Civil Engineering at Queens University Belfast

Offered on the 20th, 21st., 22nd., 23rd. and 24th. of February 2017

- Risk assessment

| Location | Stranmillis College, Belfast | Date of last assessment | n/a | Date of new assess ment | 16th. Februar y 2017 |
| --- | --- | --- | --- | --- | --- |
| Completed by |  | School / department | School of Natural and Built Environment, Queen’s University Belfast |  |  |
| Activity | Design-build-test workshop on model bridges |  |  |  |  |
| Leaders |  | Number of children and age range |  | 50 children; 13, 14 and 15 year old |  |
| Other invited persons |  | Civil Engineering staff, community and practice volunteers, teacher representatives, student volunteers, external contractors (e.g. photographers). (1 chaperone per 5 students) |  |  |  |

The risk assessment aim is to establish a process of reasonable care and due diligence, which will allow the event to be safe, informative and enjoyable.

IN LOCO PARENTIS

All staff and volunteers engaging with the pupils in the activity are to care and act for the best interests of each pupil. The duty of care is a responsibility we all take very seriously. However, they do not act in loco parentis, that is, they do not act ‘in place of his / her parent / guardian’.

| Activity (task step) | Hazards | Who might be harmed | Existing control measures (what you are already doing) | Severity (1-4) | Likelihood (1-4) | Risk level (L, M, H, | What further action is necessary? | Final risk rating | Action by whom and when |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cutting of Plastruct sections with junior hacksaw | Physical injury from fine-tooth saw blade | Pupils and volunteers | Participants trained in good working practice. Equipment | 1 | 2 | L | Pupils will ensure that they have plenty of room to move comfortably around material. | L | Volunteers |

|  |  |  | checked before each use to ensure there are no defects. |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Drilling holes in Plastruct sections with battery operated hand drills | Physical injury from drill bit and drill | Pupils and volunteers | Participants trained in good working practice. Equipment checked before each use to ensure there are no defects. | 1 | 2 | L | Pupils will ensure that they have plenty of room to move comfortably around material. | L | Voluntee rs |
| Assembly of model bridges | Physical injury from screw- drivers and spanners | Pupils and volunteers | Participants trained in good working practice. Equipment checked before each use to ensure there are no defects. | 1 | 1 | L | Pupils will ensure that they have plenty of room to move comfortably around material. | L | Volunteers |
| Testing of model bridges | Falling objects | Volunteers | Participants trained in good working practice. | 1 | 1 | L | Volunteers will ensure that they have plenty of room around material. | L | Volunteers |

Risk assessment general mapping

| Severity | Probability |  |  |  |
| --- | --- | --- | --- | --- |
|  | Unlikely | Possible | Likely | Very likely |
| Very minor | 1 | 2 | 3 | 4 |
| Minor | 2 | 4 | 6 | 8 |
| Significant | 3 | 6 | 9 | 12 |
| Major | 4 | 8 | 12 | 16 |

Personal protective equipment to be used

Protective glasses / goggles during cutting, drilling and assembly

Contingencies — what if?

| A PUPIL, VOLUNTEER OR MEMBER OF STAFF TAKES ILL OR HAS AN ACCIDENT | University staff will take the lead in arranging for emergency services to be contacted if necessary. In the event of an accident or serious illness the school and parents will be contacted. In the event of a death the university will need to employ its crisis management provision. In the event of one or two pupils being ill and feeling unable to participate in the day’s activities, one member of staff or volunteer will need to remain with the pupil(s). The rest of the team will need to meet to agree changes in the itinerary or in their responsibilities. In the event of staff illness, the university will be contacted and we will arrange for replacement staff to be deployed. Parents have given staff authorisation to seek medical treatment in the event of an accident or illness. Parents will add telephone contact numbers to the medical and/or consent forms. In the event of an incident, the remaining pupils will be briefed and counselled. |
| --- | --- |
| A PUPIL’S MEDICINE IS LOST OR DESTROYED | University staff will retain parental consent forms and medical details. In the event of an issue relating to prescribed medicine, a member of staff will accompany the pupil to a pharmacy. Parents should therefore be asked to note the specific medicines that their son / daughter is using. |

| A PUPIL LOSES AN ITEM OF VALUE | There will be an extensive search of the workshop area. If the property is lost during an activity, details will be noted for insurance purposes. |
| --- | --- |
| IN CASE OF FIRE OR FIRE DRILL | The students and chaperones will be brief on what to do in case of a fire or fire drill before the exercise begins. The students will walk calmly with their chaperone out the nearest exit which is the clock tower exit, down the sidewalk to congregate in front of the Ashby Building or in the Ashby lobby. |

Supported by

- Creative Bridges

How Civil Engineers make design decisions

A series of one day workshop events hosted by Civil Engineering at Queens University Belfast

Offered on the 20th, 21st., 22nd., 23rd. and 24th. of February 2017

- Consent form

School name ..................................................................................................................................................

.	Date

I consent to my son / daughter	(Name in full) taking part in the

Creative Bridges activities at Queen’s University Belfast. I confirm that he / she is medically fit to participate.

Please give details below of:

- any current medical condition, or any medication being taken;

- any other relevant information which may affect his or her participation in the activity;

- emergency contact numbers.

Home	Work

Mobile	Other

I consent to my son / daughter receiving emergency medical treatment, including anaesthetic, as considered necessary by medical authorities present. I understand the extent and limitations of the insurance cover provided.

Signed  .......................................................................................................................... (parent	/	guardian)

.	Date:

In line with equality guidelines, when you attend the activity you must not wear clothing which displays emblems or other accessories linked to community strife, including clothing which illustrates an allegiance to a particular sporting team, and / or display any other messages / graphics which are or may be perceived to be offensive.

The information on this form is requested for the purpose of organising an educational visit. The information is covered by the provisions of the Data Protection Act, 1998. Your signature to the form is deemed to be an authorisation by you to allow the university to process and retain the information for the purpose(s) stated.

Photography consent

I, the undersigned, as parent / guardian of the child named earlier, consent to his / her photograph being taken and / or being filmed, by a representative of Queen’s University Belfast. I understand that my / the child’s photographic image may be used for the purposes of teaching and learning and in promotional materials for use by Queen’s University Belfast, both in print and digital media, including social media. Images may be shared within the education sector for the purposes of teaching, learning and in promotional materials both in print and digital media, including social media. My consent will remain valid until I advise you otherwise. I understand that any intellectual property, including copyright and image rights, which arises in the photograph(s) belongs to Queen’s University Belfast. I understand and consent to this form being digitised and linked digitally to the photographs it refers to, and the use of this for administration purposes. The University reserves the right to retain and dispose of images.

Signed .......................................................................................................................... (parent  /  guardian)

.	Date:

Data Protection

Queen’s University Belfast undertakes to treat your personal data in accordance with the provisions of the Data Protection Act 1998. Your personal data will be kept securely and access will be on a need to know basis. You can	read	the	details	of	our	Data	Protection	Policy	at: www.qub.ac.uk/home/RegistrarsOffice/InformationComplianceUnit/DataProtection/.

The University has a No Smoking/No Vaping Policy in all of its workplaces. Outdoor smokers must stand well away from exit / door areas, do not obstruct access and only smoke in the designated areas provided.